LPGBS Site Survey

ArcGIS Online Feature Report Template

Designed for field review: compact field cards, readable response areas, and repeat records rendered as tables.

| Survey Version | ${survey_version} |
| --- | --- |
| Report Date | ${$date ¦ format:"MM/DD/YYYY HH:mm"} |
| XLSForm Version | 2.1 |

Facility Data and Desktop Inspection

| Project Name ${project_name} | JCN ${jcn} |
| --- | --- |
| JON ${jon} | Address ${address} |
| City ${loc_city} | State ${loc_state} |
| County ${county} | Service Area ${service_area} |
| ATCT Level/Tier ${atct_tier} | Year Built ${year_built} |
| Tower Owner ${tower_owner} | Is this a FAA-owned tower? ${faa_owned ¦ checked:"yes"} Yes ${faa_owned ¦ checked:"no"} No ${faa_owned ¦ checked:"n/a"} N/A |
| If this is a non-FAA-owned tower, obtain the lease document ${lease_document} | Are there LPGBS drawings available? ${drawings_available ¦ checked:"yes"} Yes ${drawings_available ¦ checked:"no"} No ${drawings_available ¦ checked:"n/a"} N/A |
| Obtain exterior lightning protection system drawing ${if ext_lightning_protect_drawing}${# ext_lightning_protect_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Obtain earth electrode system (EES) drawing ${if ees_drawing}${# ees_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Obtain interior electronic ground drawing ${if int_elect_grounding_drawing}${# int_elect_grounding_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Obtain electrical one-line drawing with surge protective devices ${if elect_one_line_drawing}${# elect_one_line_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| If drawing available, look up height info and enter drawing reference # ${height_reference_drawing} | ATCT Height ${atct_height} |
| Height measured from ground level to ${height_measured_from} | If drawing available, look up sides info and enter drawing reference # ${sides_reference_drawing} |
| # of Sides of ATCT Building ${tower_sides} | Is the facility a standalone ATCT or with attached base building or integrated with airport structure ${standalone_atct ¦ appearance:"multiline"} |
| Is TRACON facility attached to the ATCT ${tracon_attached ¦ checked:"yes"} Yes ${tracon_attached ¦ checked:"no"} No ${tracon_attached ¦ checked:"n/a"} N/A | What is the ATCT building exterior/panel material ${building_exterior_material ¦ checked:"Concrete"} Concrete ${building_exterior_material ¦ checked:"AluminumPanels"} Aluminum Panels |
| Function of cable chases ${cable_chase_function} | Number of cable chases ${number_cable_chases} |
| Is there a roof-top ASDE ${rooftop_asde ¦ checked:"yes"} Yes ${rooftop_asde ¦ checked:"no"} No ${rooftop_asde ¦ checked:"n/a"} N/A | Survey Version ${survey_version} |

Survey Participants

${# SURVEY_PARTICIPANTS}

| Field | Response |
| --- | --- |
| Details |  |
| Name | ${name} |
| Title | ${title} |
| Organization | ${organization} |
| Phone | ${phone} |

${/}

Survey Information

| Location ${location} | LOC ID ${loc_id} |
| --- | --- |
| Fac Type ${fac_type} | Form Type ${form_type ¦ checked:"Streamlined"} Streamlined ${form_type ¦ checked:"Guided"} Guided |
| Survey Elements ${survey_elements ¦ checked:"Gate_Fence"} Gate/Fence ${survey_elements ¦ checked:"EES"} EES ${survey_elements ¦ checked:"Tower"} Tower ${survey_elements ¦ checked:"Base_Building"} Base Building ${survey_elements ¦ checked:"UPS_Building"} UPS Building ${survey_elements ¦ checked:"UPS_Room"} UPS Room ${survey_elements ¦ checked:"EG_Building"} EG Building ${survey_elements ¦ checked:"EG_Outdoors"} EG Outdoors ${survey_elements ¦ checked:"EG_Room"} EG Room ${survey_elements ¦ checked:"Other"} Other | Provide a general description of the tower site ${site_description ¦ appearance:"multiline"} |
| General Photos ${if general_photos}${# general_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |  |

Site Contact Information

| Name ${dm_name} | Title ${dm_title} |
| --- | --- |
| Email ${dm_email} | Phone ${dm_phone} |
| Date Contacted ${dm_contacted_date ¦ format:"MM/DD/YYYY"} | Team Member Who Made Contact ${dm_who_contacted} |
| Name ${fm_name} | Title ${fm_title} |
| Email ${fm_email} | Phone ${fm_phone} |
| Date Contacted ${fm_contacted_date ¦ format:"MM/DD/YYYY"} | Team Member Who Made Contact ${fm_who_contacted} |
| Name ${tm_name} | Title ${tm_title} |
| Email ${tm_email} | Phone ${tm_phone} |
| Date Contacted ${tm_contacted_date ¦ format:"MM/DD/YYYY"} | Team Member Who Made Contact ${tm_who_contacted} |
| Name ${esu_name} | Title ${esu_title} |
| Email ${esu_email} | Phone ${esu_phone} |
| Date Contacted ${esu_contacted_date ¦ format:"MM/DD/YYYY"} | Team Member Who Made Contact ${esu_who_contacted} |

Gates and Fence Grounding

Gates and Fence Grounding Inspection

${# GATES_FENCE_GROUNDING}

| Field | Response |
| --- | --- |
| Details |  |
| Describe the Location | ${gfg_location_description} |
| 8.0 Is there a fence around the facility? | ${fence_present ¦ checked:"yes"} Yes ${fence_present ¦ checked:"no"} No |
| Gates and Fence General Photos | ${if gates_fence_images}${# gates_fence_images}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Gates and Fence General Notes | ${gates_fence_general_notes ¦ appearance:"multiline"} |
| Gates and Fence General Issues | ${gates_fence_general_issues ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.1 |  |
| 8.1 Are gates bonded to the adjacent posts with flexible 4/0 or copper braided straps( 1" x 1/8")? | ${gfg_bonded_to_posts ¦ checked:"yes"} Yes ${gfg_bonded_to_posts ¦ checked:"no"} No ${gfg_bonded_to_posts ¦ checked:"n/a"} N/A |
| 8.1 Photo | ${if gfg_bonded_to_posts_photo}${# gfg_bonded_to_posts_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.1 Findings | ${gfg_bonded_to_posts_note ¦ appearance:"multiline"} |
| 8.1 Recommendations | ${gfg_bonded_to_posts_rec ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.2 |  |
| 8.2 Are the gate bonding jumpers made of insulated 4/0 AWG flexible (welding) copper conductors or copper straps (1 inch by 1/8 inch)? | ${gfg_copper_connectors ¦ checked:"yes"} Yes ${gfg_copper_connectors ¦ checked:"no"} No ${gfg_copper_connectors ¦ checked:"n/a"} N/A |
| 8.2 Photo | ${if gfg_copper_connect_photo}${# gfg_copper_connect_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.2 Findings | ${gfg_copper_connect_note ¦ appearance:"multiline"} |
| 8.2 Recommendations | ${gfg_copper_connect_rec ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.3 |  |
| 8.3 Is an exothermic weld-type connection used to bond the conductors/straps to the gates/posts? | ${gfg_exo_weld ¦ checked:"yes"} Yes ${gfg_exo_weld ¦ checked:"no"} No ${gfg_exo_weld ¦ checked:"n/a"} N/A |
| 8.3 Photo | ${if gfg_exo_weld_photo}${# gfg_exo_weld_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.3 If not, please describe the bonding method: | ${gfg_bonding_method ¦ appearance:"multiline"} |
| 8.3 Recommendations | ${gfg_exo_weld_rec ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.4 |  |
| 8.4 Are the posts on each side of the gates bonded to the ground rod with 4/0 AWG bare copper conductor? | ${gfg_bonded_to_ground ¦ checked:"yes"} Yes ${gfg_bonded_to_ground ¦ checked:"no"} No ${gfg_bonded_to_ground ¦ checked:"n/a"} N/A |
| 8.4 Photo | ${if gfg_bonded_to_ground_photo}${# gfg_bonded_to_ground_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.4 Findings | ${gfg_bonded_to_ground_note ¦ appearance:"multiline"} |
| 8.4 Recommendations | ${gfg_bonded_to_ground_rec ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.5 |  |
| 8.5 Are both gate posts ground rods interconnected below ground with 4/0 AWG bare copper conductor? | ${gfg_bonded_below_ground ¦ checked:"yes"} Yes ${gfg_bonded_below_ground ¦ checked:"no"} No ${gfg_bonded_below_ground ¦ checked:"n/a"} N/A |
| 8.5 Photo | ${if gfg_bonded_below_ground_photo}${# gfg_bonded_below_ground_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.5 Findings | ${gfg_bonded_below_ground_note ¦ appearance:"multiline"} |
| 8.5 Recommendations | ${gfg_bonded_below_ground_rec ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.6 |  |
| 8.6 Is there a horizontal bare 6 AWG stranded tinned copper conductor threaded through the metal fabric of the gate? | ${gfg_awg_copper ¦ checked:"yes"} Yes ${gfg_awg_copper ¦ checked:"no"} No ${gfg_awg_copper ¦ checked:"n/a"} N/A |
| 8.6 Photo | ${if gfg_awg_copper_photo}${# gfg_awg_copper_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.6 Findings | ${gfg_awg_copper_note ¦ appearance:"multiline"} |
| 8.6 Recommendations | ${gfg_awg_copper_rec ¦ appearance:"multiline"} |
| Gates and Fence Grounding - 8.7 |  |
| 8.7 Is there an adjoining non-FAA-owned fence connected to the existing FAA perimeter fence? If so, is it electrically isolated? | ${gfg_adjoining_fence ¦ checked:"yes"} Yes ${gfg_adjoining_fence ¦ checked:"no"} No ${gfg_adjoining_fence ¦ checked:"n/a"} N/A |
| 8.7 Photo | ${if gfg_adjoining_fence_photo}${# gfg_adjoining_fence_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 8.7 Findings | ${gfg_adjoining_fence_note ¦ appearance:"multiline"} |
| 8.7 Recommendations | ${gfg_adjoining_fence_rec ¦ appearance:"multiline"} |

${/}

Earth Electrode System

Earth Electrode System Inspection

${# EARTH_ELECTRODE_SYSTEM}

| Field | Response |
| --- | --- |
| Details |  |
| Choose Facility Location | ${ees_section_selector ¦ checked:"BaseBuilding"} Base Building ${ees_section_selector ¦ checked:"Tower"} Tower ${ees_section_selector ¦ checked:"TRACON"} TRACON ${ees_section_selector ¦ checked:"EngineBuilding"} Engine Building ${ees_section_selector ¦ checked:"UPSBuilding"} UPS Building |
| Describe the Location | ${ees_location_description} |
| Will a ground resistance test be performed? | ${grt_performed ¦ checked:"yes"} Yes ${grt_performed ¦ checked:"no"} No |
| How many ground resistance tests will be performed? | ${grt_count ¦ checked:"1"} 1 ${grt_count ¦ checked:"2"} 2 ${grt_count ¦ checked:"3"} 3 ${grt_count ¦ checked:"4"} 4 |
| EES General Photos | ${if ees_general_photos}${# ees_general_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EES General Notes | ${ees_general_notes ¦ appearance:"multiline"} |
| EES General Issues | ${ees_general_issues ¦ appearance:"multiline"} |
| Ground Resistance Test - Resistance Test 1 |  |
| Z | ${z_distance_1 ¦ checked:"100"} 100 ${z_distance_1 ¦ checked:"200"} 200 |
| Y1 | ${y_probe_1_1} |
| Ohms 1 | ${resistance_1_1} |
| Y2 | ${y_probe_1_2} |
| Ohms 2 | ${resistance_1_2} |
| Y3 | ${y_probe_1_3} |
| Ohms 3 | ${resistance_1_3} |
| Y4 | ${y_probe_1_4} |
| Ohms 4 | ${resistance_1_4} |
| Y5 | ${y_probe_1_5} |
| Ohms 5 | ${resistance_1_5} |
| Y6 | ${y_probe_1_6} |
| Ohms 6 | ${resistance_1_6} |
| Y7 | ${y_probe_1_7} |
| Ohms 7 | ${resistance_1_7} |
| Y8 | ${y_probe_1_8} |
| Ohms 8 | ${resistance_1_8} |
| Y9 | ${y_probe_1_9} |
| Ohms 9 | ${resistance_1_9} |
| Y10 | ${y_probe_1_10} |
| Ohms 10 | ${resistance_1_10} |
| Ground Resistance Test - Resistance Test 2 |  |
| Z | ${z_distance_2 ¦ checked:"100"} 100 ${z_distance_2 ¦ checked:"200"} 200 |
| Y1 | ${y_probe_2_1} |
| Ohms 1 | ${resistance_2_1} |
| Y2 | ${y_probe_2_2} |
| Ohms 2 | ${resistance_2_2} |
| Y3 | ${y_probe_2_3} |
| Ohms 3 | ${resistance_2_3} |
| Y4 | ${y_probe_2_4} |
| Ohms 4 | ${resistance_2_4} |
| Y5 | ${y_probe_2_5} |
| Ohms 5 | ${resistance_2_5} |
| Y6 | ${y_probe_2_6} |
| Ohms 6 | ${resistance_2_6} |
| Y7 | ${y_probe_2_7} |
| Ohms 7 | ${resistance_2_7} |
| Y8 | ${y_probe_2_8} |
| Ohms 8 | ${resistance_2_8} |
| Y9 | ${y_probe_2_9} |
| Ohms 9 | ${resistance_2_9} |
| Y10 | ${y_probe_2_10} |
| Ohms 10 | ${resistance_2_10} |
| Ground Resistance Test - Resistance Test 3 |  |
| Z | ${z_distance_3 ¦ checked:"100"} 100 ${z_distance_3 ¦ checked:"200"} 200 |
| Y1 | ${y_probe_3_1} |
| Ohms 1 | ${resistance_3_1} |
| Y2 | ${y_probe_3_2} |
| Ohms 2 | ${resistance_3_2} |
| Y3 | ${y_probe_3_3} |
| Ohms 3 | ${resistance_3_3} |
| Y4 | ${y_probe_3_4} |
| Ohms 4 | ${resistance_3_4} |
| Y5 | ${y_probe_3_5} |
| Ohms 5 | ${resistance_3_5} |
| Y6 | ${y_probe_3_6} |
| Ohms 6 | ${resistance_3_6} |
| Y7 | ${y_probe_3_7} |
| Ohms 7 | ${resistance_3_7} |
| Y8 | ${y_probe_3_8} |
| Ohms 8 | ${resistance_3_8} |
| Y9 | ${y_probe_3_9} |
| Ohms 9 | ${resistance_3_9} |
| Y10 | ${y_probe_3_10} |
| Ohms 10 | ${resistance_3_10} |
| Ground Resistance Test - Resistance Test 4 |  |
| Z | ${z_distance_4 ¦ checked:"100"} 100 ${z_distance_4 ¦ checked:"200"} 200 |
| Y1 | ${y_probe_4_1} |
| Ohms 1 | ${resistance_4_1} |
| Y2 | ${y_probe_4_2} |
| Ohms 2 | ${resistance_4_2} |
| Y3 | ${y_probe_4_3} |
| Ohms 3 | ${resistance_4_3} |
| Y4 | ${y_probe_4_4} |
| Ohms 4 | ${resistance_4_4} |
| Y5 | ${y_probe_4_5} |
| Ohms 5 | ${resistance_4_5} |
| Y6 | ${y_probe_4_6} |
| Ohms 6 | ${resistance_4_6} |
| Y7 | ${y_probe_4_7} |
| Ohms 7 | ${resistance_4_7} |
| Y8 | ${y_probe_4_8} |
| Ohms 8 | ${resistance_4_8} |
| Y9 | ${y_probe_4_9} |
| Ohms 9 | ${resistance_4_9} |
| Y10 | ${y_probe_4_10} |
| Ohms 10 | ${resistance_4_10} |
| Ground Resistance Test - Resistance Test Statistics |  |
| Average Resistance | ${average_resistance} |
| EES - 7.1 |  |
| 7.1 In prohibited areas, where exothermic weld may not be used, are hydraulically crimped connections employed? | ${ees_crimps ¦ checked:"yes"} Yes ${ees_crimps ¦ checked:"no"} No ${ees_crimps ¦ checked:"n/a"} N/A |
| 7.1 Photo | ${if ees_crimps_photo}${# ees_crimps_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 7.1 Findings | ${ees_crimps_note ¦ appearance:"multiline"} |
| 7.1 Recommendations | ${ees_crimps_rec ¦ appearance:"multiline"} |
| EES - 7.2 |  |
| 7.2 Does the access well exist? | ${ees_access_well ¦ checked:"yes"} Yes ${ees_access_well ¦ checked:"no"} No ${ees_access_well ¦ checked:"n/a"} N/A |
| 7.2 Photo | ${if ees_access_well_photo}${# ees_access_well_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 7.2 Number of Access Wells / Findings | ${ees_access_well_note ¦ appearance:"multiline"} |
| 7.2 Recommendations | ${ees_access_well_rec ¦ appearance:"multiline"} |
| EES - 7.4 |  |
| 7.4 Are all connections in access well exothermically bonded? | ${ees_connect_condition ¦ checked:"yes"} Yes ${ees_connect_condition ¦ checked:"no"} No ${ees_connect_condition ¦ checked:"n/a"} N/A |
| 7.4 Photo | ${if ees_connect_condition_photo}${# ees_connect_condition_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 7.4 What is the condition of the connections? | ${ees_connect_condition_note ¦ appearance:"multiline"} |
| 7.4 Recommendations | ${ees_connect_condition_rec ¦ appearance:"multiline"} |
| EES - 7.5 |  |
| 7.5 Using 62% “Fall of Potential” method, does the earth electrode system measure 10 ohms or less or as required in the specification? | ${ees_under_10_ohms ¦ checked:"yes"} Yes ${ees_under_10_ohms ¦ checked:"no"} No ${ees_under_10_ohms ¦ checked:"n/a"} N/A |
| 7.5 Photo | ${if ees_under_10_ohms_photo}${# ees_under_10_ohms_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| 7.5 Findings | ${ees_under_10_ohms_note ¦ appearance:"multiline"} |
| 7.5 Recommendations | ${ees_under_10_ohms_rec ¦ appearance:"multiline"} |

${/}

Tower

Air Terminals

| Does the facility have air terminals? ${tower_at ¦ checked:"yes"} Yes ${tower_at ¦ checked:"no"} No | Air Terminal Photos ${if tower_at_photos}${# tower_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Air Terminal Notes ${tower_at_general_notes ¦ appearance:"multiline"} | Air Terminal Issues ${tower_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals ${tower_at_new_at_qty} | Replace missing/broken air terminals ${tower_at_replace_at_qty} |
| Fix air terminal mast ${tower_at_fix_at_qty} |  |

Down Conductors

| Does the facility have down conductors? ${tower_dc ¦ checked:"yes"} Yes ${tower_dc ¦ checked:"no"} No | Down Conductor Photos ${if tower_dc_photos}${# tower_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Down Conductor Notes ${tower_dc_general_notes ¦ appearance:"multiline"} | Down Conductor Issues ${tower_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility ${tower_dc_new_qty} | Convert existing dc to 4/0 ${tower_dc_convert_to_4_0} |
| Secure every 3 feet ${tower_dc_secure_3_feet} | Bond dc to lower tower section with exothermic welds ${tower_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop ${tower_dc_add_t_cross} | Add new eq loop on handrail and bond to existing dc from air terminals ${tower_dc_new_eq_handrail} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? ${tower_ext_metal ¦ checked:"yes"} Yes ${tower_ext_metal ¦ checked:"no"} No | Exterior Metallic Objects Photos ${if tower_ext_metal_photos}${# tower_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Exterior Metallic Objects Notes ${tower_ext_metal_general_notes ¦ appearance:"multiline"} | Exterior Metallic Objects Issues ${tower_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac ${tower_ext_metal_hvac} | Junction box ${tower_ext_metal_j_box} |
| Conduit ${tower_ext_metal_conduit} | Doors ${tower_ext_metal_doors} |
| Service Rack ${tower_ext_metal_serve_rack} | Load bank ${tower_ext_metal_load_bank} |
| FST ${tower_ext_metal_fst} | Antenna Masts ${tower_ext_metal_ant_mast} |
| Ob Lights ${tower_ext_metal_ob_light} | Exhaust Stack ${tower_ext_metal_exhaust} |
| Awning/Metal Structure ${tower_ext_metal_awning} | Vent/Louvers ${tower_ext_metal_vent} |
| Stairs ${tower_ext_metal_stairs} |  |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? ${tower_ext_bulk ¦ checked:"yes"} Yes ${tower_ext_bulk ¦ checked:"no"} No | Are the bulkhead plates correct? ${tower_ext_bulk_correct ¦ checked:"yes"} Yes ${tower_ext_bulk_correct ¦ checked:"no"} No |
| --- | --- |
| Exterior Bulkhead Plates Photos ${if tower_ext_bulk_photos}${# tower_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Exterior Bulkhead Plates Notes ${tower_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues ${tower_ext_bulk_general_issues ¦ appearance:"multiline"} | Plates are undersized, min 1/4" x 4" ${tower_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 ${tower_ext_bulk_j_box} | Plates need corrected to double lug terminals ${tower_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition ${tower_ext_bulk_doors ¦ checked:"yes"} | Bond ice bridge to bh plate ${tower_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG ${tower_ext_bulk_load_bank ¦ checked:"yes"} |  |

Exterior Base Building

Air Terminals

| Does the facility have air terminals? ${bb_at ¦ checked:"yes"} Yes ${bb_at ¦ checked:"no"} No | Air Terminal Photos ${if bb_at_photos}${# bb_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Air Terminal Notes ${bb_at_general_notes ¦ appearance:"multiline"} | Air Terminal Issues ${bb_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals ${bb_at_new_at_qty} | Replace missing/broken air terminals ${bb_at_replace_at_qty} |
| Fix air terminal mast ${bb_at_fix_at_qty} |  |

Down Conductors

| Does the facility have down conductors? ${bb_dc ¦ checked:"yes"} Yes ${bb_dc ¦ checked:"no"} No | Down Conductor Photos ${if bb_dc_photos}${# bb_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Down Conductor Notes ${bb_dc_general_notes ¦ appearance:"multiline"} | Down Conductor Issues ${bb_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility ${bb_dc_new_qty} | Convert existing dc to 4/0 ${bb_dc_convert_to_4_0} |
| Secure every 3 feet ${bb_dc_secure_3_feet} | Bond dc to lower tower section with exothermic welds ${bb_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop ${bb_dc_add_t_cross} | Add new eq loop on handrail and bond to existing dc from air terminals ${bb_dc_new_eq_handrail} |
| Install new eq loop on roof ${bb_dc_new_eq_roof} |  |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? ${bb_ext_metal ¦ checked:"yes"} Yes ${bb_ext_metal ¦ checked:"no"} No | Exterior Metallic Objects Photos ${if bb_ext_metal_photos}${# bb_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Exterior Metallic Objects Notes ${bb_ext_metal_general_notes ¦ appearance:"multiline"} | Exterior Metallic Objects Issues ${bb_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac ${bb_ext_metal_hvac} | Junction box ${bb_ext_metal_j_box} |
| Conduit ${bb_ext_metal_conduit} | Doors ${bb_ext_metal_doors} |
| Service Rack ${bb_ext_metal_serve_rack} | Load bank ${bb_ext_metal_load_bank} |
| FST ${bb_ext_metal_fst} | Antenna Masts ${bb_ext_metal_ant_mast} |
| Ob Lights ${bb_ext_metal_ob_light} | Exhaust Stack ${bb_ext_metal_exhaust} |
| Awning/Metal Structure ${bb_ext_metal_awning} | Vent/Louvers ${bb_ext_metal_vent} |
| Stairs ${bb_ext_metal_stairs} |  |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? ${bb_ext_bulk ¦ checked:"yes"} Yes ${bb_ext_bulk ¦ checked:"no"} No | Are the bulkhead plates correct? ${bb_ext_bulk_correct ¦ checked:"yes"} Yes ${bb_ext_bulk_correct ¦ checked:"no"} No |
| --- | --- |
| Exterior Bulkhead Plates Photos ${if bb_ext_bulk_photos}${# bb_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Exterior Bulkhead Plates Notes ${bb_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues ${bb_ext_bulk_general_issues ¦ appearance:"multiline"} | Plates are undersized, min 1/4" x 4" ${bb_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 ${bb_ext_bulk_j_box} | Plates need corrected to double lug terminals ${bb_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition ${bb_ext_bulk_doors ¦ checked:"yes"} | Bond ice bridge to bh plate ${bb_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG ${bb_ext_bulk_load_bank ¦ checked:"yes"} |  |

Exterior UPS Building

Air Terminals

| Does the facility have air terminals? ${ups_at ¦ checked:"yes"} Yes ${ups_at ¦ checked:"no"} No | Air Terminal Photos ${if ups_at_photos}${# ups_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Air Terminal Notes ${ups_at_general_notes ¦ appearance:"multiline"} | Air Terminal Issues ${ups_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals ${ups_at_new_at_qty} | Replace missing/broken air terminals ${ups_at_replace_at_qty} |
| Fix air terminal mast ${ups_at_fix_at_qty} |  |

Down Conductors

| Does the facility have down conductors? ${ups_dc ¦ checked:"yes"} Yes ${ups_dc ¦ checked:"no"} No | Down Conductor Photos ${if ups_dc_photos}${# ups_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Down Conductor Notes ${ups_dc_general_notes ¦ appearance:"multiline"} | Down Conductor Issues ${ups_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility ${ups_dc_new_qty} | Convert existing dc to 4/0 ${ups_dc_convert_to_4_0} |
| Secure every 3 feet ${ups_dc_secure_3_feet} | Bond dc to lower tower section with exothermic welds ${ups_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop ${ups_dc_add_t_cross} | Add new eq loop on handrail and bond to existing dc from air terminals ${ups_dc_new_eq_handrail} |
| Install new eq loop on roof ${ups_dc_new_eq_roof} |  |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? ${ups_ext_metal ¦ checked:"yes"} Yes ${ups_ext_metal ¦ checked:"no"} No | Exterior Metallic Objects Photos ${if ups_ext_metal_photos}${# ups_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Exterior Metallic Objects Notes ${ups_ext_metal_general_notes ¦ appearance:"multiline"} | Exterior Metallic Objects Issues ${ups_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac ${ups_ext_metal_hvac} | Junction box ${ups_ext_metal_j_box} |
| Conduit ${ups_ext_metal_conduit} | Doors ${ups_ext_metal_doors} |
| Service Rack ${ups_ext_metal_serve_rack} | Load bank ${ups_ext_metal_load_bank} |
| FST ${ups_ext_metal_fst} | Antenna Masts ${ups_ext_metal_ant_mast} |
| Ob Lights ${ups_ext_metal_ob_light} | Exhaust Stack ${ups_ext_metal_exhaust} |
| Awning/Metal Structure ${ups_ext_metal_awning} | Vent/Louvers ${ups_ext_metal_vent} |
| Stairs ${ups_ext_metal_stairs} |  |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? ${ups_ext_bulk ¦ checked:"yes"} Yes ${ups_ext_bulk ¦ checked:"no"} No | Are the bulkhead plates correct? ${ups_ext_bulk_correct ¦ checked:"yes"} Yes ${ups_ext_bulk_correct ¦ checked:"no"} No |
| --- | --- |
| Exterior Bulkhead Plates Photos ${if ups_ext_bulk_photos}${# ups_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Exterior Bulkhead Plates Notes ${ups_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues ${ups_ext_bulk_general_issues ¦ appearance:"multiline"} | Plates are undersized, min 1/4" x 4" ${ups_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 ${ups_ext_bulk_j_box} | Plates need corrected to double lug terminals ${ups_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition ${ups_ext_bulk_doors ¦ checked:"yes"} | Bond ice bridge to bh plate ${ups_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG ${ups_ext_bulk_load_bank ¦ checked:"yes"} |  |

Exterior EG Building

Air Terminals

| Does the facility have air terminals? ${eg_at ¦ checked:"yes"} Yes ${eg_at ¦ checked:"no"} No | Air Terminal Photos ${if eg_at_photos}${# eg_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Air Terminal Notes ${eg_at_general_notes ¦ appearance:"multiline"} | Air Terminal Issues ${eg_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals ${eg_at_new_at_qty} | Replace missing/broken air terminals ${eg_at_replace_at_qty} |
| Fix air terminal mast ${eg_at_fix_at_qty} |  |

Down Conductors

| Does the facility have down conductors? ${eg_dc ¦ checked:"yes"} Yes ${eg_dc ¦ checked:"no"} No | Down Conductor Photos ${if eg_dc_photos}${# eg_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Down Conductor Notes ${eg_dc_general_notes ¦ appearance:"multiline"} | Down Conductor Issues ${eg_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility ${eg_dc_new_qty} | Convert existing dc to 4/0 ${eg_dc_convert_to_4_0} |
| Secure every 3 feet ${eg_dc_secure_3_feet} | Bond dc to lower tower section with exothermic welds ${eg_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop ${eg_dc_add_t_cross} | Add new eq loop on handrail and bond to existing dc from air terminals ${eg_dc_new_eq_handrail} |
| Install new eq loop on roof ${eg_dc_new_eq_roof} |  |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? ${eg_ext_metal ¦ checked:"yes"} Yes ${eg_ext_metal ¦ checked:"no"} No | Exterior Metallic Objects Photos ${if eg_ext_metal_photos}${# eg_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Exterior Metallic Objects Notes ${eg_ext_metal_general_notes ¦ appearance:"multiline"} | Exterior Metallic Objects Issues ${eg_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac ${eg_ext_metal_hvac} | Junction box ${eg_ext_metal_j_box} |
| Conduit ${eg_ext_metal_conduit} | Doors ${eg_ext_metal_doors} |
| Service Rack ${eg_ext_metal_serve_rack} | Load bank ${eg_ext_metal_load_bank} |
| FST ${eg_ext_metal_fst} | Antenna Masts ${eg_ext_metal_ant_mast} |
| Ob Lights ${eg_ext_metal_ob_light} | Exhaust Stack ${eg_ext_metal_exhaust} |
| Awning/Metal Structure ${eg_ext_metal_awning} | Vent/Louvers ${eg_ext_metal_vent} |
| Stairs ${eg_ext_metal_stairs} |  |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? ${eg_ext_bulk ¦ checked:"yes"} Yes ${eg_ext_bulk ¦ checked:"no"} No | Are the bulkhead plates correct? ${eg_ext_bulk_correct ¦ checked:"yes"} Yes ${eg_ext_bulk_correct ¦ checked:"no"} No |
| --- | --- |
| Exterior Bulkhead Plates Photos ${if eg_ext_bulk_photos}${# eg_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Exterior Bulkhead Plates Notes ${eg_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues ${eg_ext_bulk_general_issues ¦ appearance:"multiline"} | Plates are undersized, min 1/4" x 4" ${eg_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 ${eg_ext_bulk_j_box} | Plates need corrected to double lug terminals ${eg_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition ${eg_ext_bulk_doors ¦ checked:"yes"} | Bond ice bridge to bh plate ${eg_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG ${eg_ext_bulk_load_bank ¦ checked:"yes"} |  |

Exterior Engine Generator

Air Terminals

| Does the facility have air terminals? ${eeg_at ¦ checked:"yes"} Yes ${eeg_at ¦ checked:"no"} No | Air Terminal Photos ${if eeg_at_photos}${# eeg_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Air Terminal Notes ${eeg_at_general_notes ¦ appearance:"multiline"} | Air Terminal Issues ${eeg_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals ${eeg_at_new_at_qty} | Replace missing/broken air terminals ${eeg_at_replace_at_qty} |
| Fix air terminal mast ${eeg_at_fix_at_qty} |  |

Down Conductors

| Does the facility have down conductors? ${eeg_dc ¦ checked:"yes"} Yes ${eeg_dc ¦ checked:"no"} No | Down Conductor Photos ${if eeg_dc_photos}${# eeg_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Down Conductor Notes ${eeg_dc_general_notes ¦ appearance:"multiline"} | Down Conductor Issues ${eeg_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility ${eeg_dc_new_qty} | Convert existing dc to 4/0 ${eeg_dc_convert_to_4_0} |
| Secure every 3 feet ${eeg_dc_secure_3_feet} | Bond dc to lower tower section with exothermic welds ${eeg_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop ${eeg_dc_add_t_cross} | Add new eq loop on handrail and bond to existing dc from air terminals ${eeg_dc_new_eq_handrail} |
| Install new eq loop on roof ${eeg_dc_new_eq_roof} |  |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? ${eeg_ext_metal ¦ checked:"yes"} Yes ${eeg_ext_metal ¦ checked:"no"} No | Exterior Metallic Objects Photos ${if eeg_ext_metal_photos}${# eeg_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Exterior Metallic Objects Notes ${eeg_ext_metal_general_notes ¦ appearance:"multiline"} | Exterior Metallic Objects Issues ${eeg_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac ${eeg_ext_metal_hvac} | Junction box ${eeg_ext_metal_j_box} |
| Conduit ${eeg_ext_metal_conduit} | Doors ${eeg_ext_metal_doors} |
| Service Rack ${eeg_ext_metal_serve_rack} | Load bank ${eeg_ext_metal_load_bank} |
| FST ${eeg_ext_metal_fst} | Antenna Masts ${eeg_ext_metal_ant_mast} |
| Ob Lights ${eeg_ext_metal_ob_light} | Exhaust Stack ${eeg_ext_metal_exhaust} |
| Awning/Metal Structure ${eeg_ext_metal_awning} | Vent/Louvers ${eeg_ext_metal_vent} |
| Stairs ${eeg_ext_metal_stairs} |  |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? ${eeg_ext_bulk ¦ checked:"yes"} Yes ${eeg_ext_bulk ¦ checked:"no"} No | Are the bulkhead plates correct? ${eeg_ext_bulk_correct ¦ checked:"yes"} Yes ${eeg_ext_bulk_correct ¦ checked:"no"} No |
| --- | --- |
| Exterior Bulkhead Plates Photos ${if eeg_ext_bulk_photos}${# eeg_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Exterior Bulkhead Plates Notes ${eeg_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues ${eeg_ext_bulk_general_issues ¦ appearance:"multiline"} | Plates are undersized, min 1/4" x 4" ${eeg_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 ${eeg_ext_bulk_j_box} | Plates need corrected to double lug terminals ${eeg_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition ${eeg_ext_bulk_doors ¦ checked:"yes"} | Bond ice bridge to bh plate ${eeg_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG ${eeg_ext_bulk_load_bank ¦ checked:"yes"} |  |

Exterior Other

Air Terminals

| Does the facility have air terminals? ${other_at ¦ checked:"yes"} Yes ${other_at ¦ checked:"no"} No | Air Terminal Photos ${if other_at_photos}${# other_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Air Terminal Notes ${other_at_general_notes ¦ appearance:"multiline"} | Air Terminal Issues ${other_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals ${other_at_new_at_qty} | Replace missing/broken air terminals ${other_at_replace_at_qty} |
| Fix air terminal mast ${other_at_fix_at_qty} |  |

Down Conductors

| Does the facility have down conductors? ${other_dc ¦ checked:"yes"} Yes ${other_dc ¦ checked:"no"} No | Down Conductor Photos ${if other_dc_photos}${# other_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Down Conductor Notes ${other_dc_general_notes ¦ appearance:"multiline"} | Down Conductor Issues ${other_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility ${other_dc_new_qty} | Convert existing dc to 4/0 ${other_dc_convert_to_4_0} |
| Secure every 3 feet ${other_dc_secure_3_feet} | Bond dc to lower tower section with exothermic welds ${other_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop ${other_dc_add_t_cross} | Add new eq loop on handrail and bond to existing dc from air terminals ${other_dc_new_eq_handrail} |
| Install new eq loop on roof ${other_dc_new_eq_roof} |  |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? ${other_ext_metal ¦ checked:"yes"} Yes ${other_ext_metal ¦ checked:"no"} No | Exterior Metallic Objects Photos ${if other_ext_metal_photos}${# other_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| --- | --- |
| Exterior Metallic Objects Notes ${other_ext_metal_general_notes ¦ appearance:"multiline"} | Exterior Metallic Objects Issues ${other_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac ${other_ext_metal_hvac} | Junction box ${other_ext_metal_j_box} |
| Conduit ${other_ext_metal_conduit} | Doors ${other_ext_metal_doors} |
| Service Rack ${other_ext_metal_serve_rack} | Load bank ${other_ext_metal_load_bank} |
| FST ${other_ext_metal_fst} | Antenna Masts ${other_ext_metal_ant_mast} |
| Ob Lights ${other_ext_metal_ob_light} | Exhaust Stack ${other_ext_metal_exhaust} |
| Awning/Metal Structure ${other_ext_metal_awning} | Vent/Louvers ${other_ext_metal_vent} |
| Stairs ${other_ext_metal_stairs} |  |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? ${other_ext_bulk ¦ checked:"yes"} Yes ${other_ext_bulk ¦ checked:"no"} No | Are the bulkhead plates correct? ${other_ext_bulk_correct ¦ checked:"yes"} Yes ${other_ext_bulk_correct ¦ checked:"no"} No |
| --- | --- |
| Exterior Bulkhead Plates Photos ${if other_ext_bulk_photos}${# other_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Exterior Bulkhead Plates Notes ${other_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues ${other_ext_bulk_general_issues ¦ appearance:"multiline"} | Plates are undersized, min 1/4" x 4" ${other_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 ${other_ext_bulk_j_box} | Plates need corrected to double lug terminals ${other_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition ${other_ext_bulk_doors ¦ checked:"yes"} | Bond ice bridge to bh plate ${other_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG ${other_ext_bulk_load_bank ¦ checked:"yes"} |  |

Interior Base Building

Interior MPG System

| Does the facility have Main Ground Plate? ${bb_mpg ¦ checked:"yes"} Yes ${bb_mpg ¦ checked:"no"} No | Is it correct? ${bb_mpg_correct ¦ checked:"yes"} Yes ${bb_mpg_correct ¦ checked:"no"} No |
| --- | --- |
| Base Building MPG Photos ${if bb_mpg_photos}${# bb_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Base Building MPG Notes ${bb_mpg_general_notes ¦ appearance:"multiline"} |
| Base Building MPG Issues ${bb_mpg_general_issues ¦ appearance:"multiline"} | Needs label changed ${bb_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${bb_mpg_bond_to_ees ¦ checked:"yes"} | Undersized ${bb_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${bb_mpg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${bb_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? ${bb_spg ¦ checked:"yes"} Yes ${bb_spg ¦ checked:"no"} No | Is it correct? ${bb_spg_correct ¦ checked:"yes"} Yes ${bb_spg_correct ¦ checked:"no"} No |
| --- | --- |
| Base Building SPG Photos ${if bb_spg_photos}${# bb_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Base Building SPG Notes ${bb_spg_general_notes ¦ appearance:"multiline"} |
| Base Building SPG Issues ${bb_spg_general_issues ¦ appearance:"multiline"} | Needs label changed ${bb_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${bb_spg_bond_to_ees ¦ checked:"yes"} | Undersized ${bb_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${bb_spg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${bb_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? ${bb_mpgp ¦ checked:"yes"} Yes ${bb_mpgp ¦ checked:"no"} No | Base Building MPGP Count ${bb_mpgp_count} |
| --- | --- |
| Are they correct? ${bb_mpgp_correct ¦ checked:"yes"} Yes ${bb_mpgp_correct ¦ checked:"no"} No | Base Building MPGP Photos ${if bb_mpgp_photos}${# bb_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building MPGP Notes ${bb_mpgp_general_notes ¦ appearance:"multiline"} | Base Building MPGP Issues ${bb_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${bb_mpgp_label ¦ checked:"yes"} | Undersized ${bb_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${bb_mpgp_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${bb_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's ${bb_mpgp_add_count} | Wrong equipment bonded to MPGP ${bb_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? ${bb_spgp ¦ checked:"yes"} Yes ${bb_spgp ¦ checked:"no"} No | Base Building SPGP Count ${bb_spgp_count} |
| --- | --- |
| Are they correct? ${bb_spgp_correct ¦ checked:"yes"} Yes ${bb_spgp_correct ¦ checked:"no"} No | Base Building SPGP Photos ${if bb_spgp_photos}${# bb_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building SPGP Notes ${bb_spgp_general_notes ¦ appearance:"multiline"} | Base Building SPGP Issues ${bb_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${bb_spgp_label ¦ checked:"yes"} | Undersized ${bb_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${bb_spgp_to_double_lug ¦ checked:"yes"} | Is incorrectly interconnected with the MPG System (remove the interconnections) ${bb_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 ${bb_spgp_interconnect ¦ checked:"yes"} | Need to add additional SPGP's ${bb_spgp_add_count} |
| Wrong equipment bonded to SPGP ${bb_spgp_wrong_bonds ¦ checked:"yes"} |  |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? ${bb_eqp_bonds ¦ checked:"yes"} Yes ${bb_eqp_bonds ¦ checked:"no"} No | How many? ${bb_eqp_bonds_count} |
| --- | --- |
| Is the equipment bonded to the MPG System? ${bb_eqp_bond_mpg ¦ checked:"yes"} Yes ${bb_eqp_bond_mpg ¦ checked:"no"} No | How many? ${bb_eqp_bond_mpg_count} |
| Base Building Equipment Bonding Photos ${if bb_eqp_photos}${# bb_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Base Building Equipment Bonding Notes ${bb_eqp_general_notes ¦ appearance:"multiline"} |
| Base Building Equipment Bonding Issues ${bb_eqp_general_issues ¦ appearance:"multiline"} | How many pieces need bonding to the MPGP's ${bb_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's ${bb_eqp_to_spgp} | Cable tray needs bonded at the ends ${bb_eqp_cable_tray} |
| Junction boxes ${bb_eqp_jct_box} | E/G ${bb_eqp_eg} |
| ATS ${bb_eqp_ats} | SPD ${bb_eqp_spd} |
| Battery/UPS rack ${bb_eqp_batt_ups} | Conduits ${bb_eqp_conduits} |

Interior UPS Building

Interior MPG System

| Does the facility have Main Ground Plate? ${ups_mpg ¦ checked:"yes"} Yes ${ups_mpg ¦ checked:"no"} No | Is it correct? ${ups_mpg_correct ¦ checked:"yes"} Yes ${ups_mpg_correct ¦ checked:"no"} No |
| --- | --- |
| UPS Building MPG Photos ${if ups_mpg_photos}${# ups_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | UPS Building MPG Notes ${ups_mpg_general_notes ¦ appearance:"multiline"} |
| UPS Building MPG Issues ${ups_mpg_general_issues ¦ appearance:"multiline"} | Needs label changed ${ups_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${ups_mpg_bond_to_ees ¦ checked:"yes"} | Undersized ${ups_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_mpg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${ups_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? ${ups_spg ¦ checked:"yes"} Yes ${ups_spg ¦ checked:"no"} No | Is it correct? ${ups_spg_correct ¦ checked:"yes"} Yes ${ups_spg_correct ¦ checked:"no"} No |
| --- | --- |
| UPS Building SPG Photos ${if ups_spg_photos}${# ups_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | UPS Building SPG Notes ${ups_spg_general_notes ¦ appearance:"multiline"} |
| UPS Building SPG Issues ${ups_spg_general_issues ¦ appearance:"multiline"} | Needs label changed ${ups_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${ups_spg_bond_to_ees ¦ checked:"yes"} | Undersized ${ups_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_spg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${ups_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? ${ups_mpgp ¦ checked:"yes"} Yes ${ups_mpgp ¦ checked:"no"} No | UPS Building MPGP Count ${ups_mpgp_count} |
| --- | --- |
| Are they correct? ${ups_mpgp_correct ¦ checked:"yes"} Yes ${ups_mpgp_correct ¦ checked:"no"} No | UPS Building MPGP Photos ${if ups_mpgp_photos}${# ups_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building MPGP Notes ${ups_mpgp_general_notes ¦ appearance:"multiline"} | UPS Building MPGP Issues ${ups_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${ups_mpgp_label ¦ checked:"yes"} | Undersized ${ups_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_mpgp_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${ups_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's ${ups_mpgp_add_count} | Wrong equipment bonded to MPGP ${ups_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? ${ups_spgp ¦ checked:"yes"} Yes ${ups_spgp ¦ checked:"no"} No | UPS Building SPGP Count ${ups_spgp_count} |
| --- | --- |
| Are they correct? ${ups_spgp_correct ¦ checked:"yes"} Yes ${ups_spgp_correct ¦ checked:"no"} No | UPS Building SPGP Photos ${if ups_spgp_photos}${# ups_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building SPGP Notes ${ups_spgp_general_notes ¦ appearance:"multiline"} | UPS Building SPGP Issues ${ups_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${ups_spgp_label ¦ checked:"yes"} | Undersized ${ups_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_spgp_to_double_lug ¦ checked:"yes"} | Is incorrectly interconnected with the MPG System (remove the interconnections) ${ups_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 ${ups_spgp_interconnect ¦ checked:"yes"} | Need to add additional SPGP's ${ups_spgp_add_count} |
| Wrong equipment bonded to SPGP ${ups_spgp_wrong_bonds ¦ checked:"yes"} |  |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? ${ups_eqp_bonds ¦ checked:"yes"} Yes ${ups_eqp_bonds ¦ checked:"no"} No | How many? ${ups_eqp_bonds_count} |
| --- | --- |
| Is the equipment bonded to the MPG System? ${ups_eqp_bond_mpg ¦ checked:"yes"} Yes ${ups_eqp_bond_mpg ¦ checked:"no"} No | How many? ${ups_eqp_bond_mpg_count} |
| UPS Building Equipment Bonding Photos ${if ups_eqp_photos}${# ups_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | UPS Building Equipment Bonding Notes ${ups_eqp_general_notes ¦ appearance:"multiline"} |
| UPS Building Equipment Bonding Issues ${ups_eqp_general_issues ¦ appearance:"multiline"} | How many pieces need bonding to the MPGP's ${ups_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's ${ups_eqp_to_spgp} | Cable tray needs bonded at the ends ${ups_eqp_cable_tray} |
| Junction boxes ${ups_eqp_jct_box} | E/G ${ups_eqp_eg} |
| ATS ${ups_eqp_ats} | SPD ${ups_eqp_spd} |
| Battery/UPS rack ${ups_eqp_batt_ups} | Conduits ${ups_eqp_conduits} |

UPS Room

Interior MPG System

| Does the facility have Main Ground Plate? ${ups_rm_mpg ¦ checked:"yes"} Yes ${ups_rm_mpg ¦ checked:"no"} No | Is it correct? ${ups_rm_mpg_correct ¦ checked:"yes"} Yes ${ups_rm_mpg_correct ¦ checked:"no"} No |
| --- | --- |
| UPS Room MPG Photos ${if ups_rm_mpg_photos}${# ups_rm_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | UPS Room MPG Notes ${ups_rm_mpg_general_notes ¦ appearance:"multiline"} |
| UPS Room MPG Issues ${ups_rm_mpg_general_issues ¦ appearance:"multiline"} | Needs label changed ${ups_rm_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${ups_rm_mpg_bond_to_ees ¦ checked:"yes"} | Undersized ${ups_rm_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_rm_mpg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${ups_rm_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? ${ups_rm_spg ¦ checked:"yes"} Yes ${ups_rm_spg ¦ checked:"no"} No | Is it correct? ${ups_rm_spg_correct ¦ checked:"yes"} Yes ${ups_rm_spg_correct ¦ checked:"no"} No |
| --- | --- |
| UPS Room SPG Photos ${if ups_rm_spg_photos}${# ups_rm_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | UPS Room SPG Notes ${ups_rm_spg_general_notes ¦ appearance:"multiline"} |
| UPS Room SPG Issues ${ups_rm_spg_general_issues ¦ appearance:"multiline"} | Needs label changed ${ups_rm_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${ups_rm_spg_bond_to_ees ¦ checked:"yes"} | Undersized ${ups_rm_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_rm_spg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${ups_rm_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? ${ups_rm_mpgp ¦ checked:"yes"} Yes ${ups_rm_mpgp ¦ checked:"no"} No | UPS Room MPGP Count ${ups_rm_mpgp_count} |
| --- | --- |
| Are they correct? ${ups_rm_mpgp_correct ¦ checked:"yes"} Yes ${ups_rm_mpgp_correct ¦ checked:"no"} No | UPS Room MPGP Photos ${if ups_rm_mpgp_photos}${# ups_rm_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Room MPGP Notes ${ups_rm_mpgp_general_notes ¦ appearance:"multiline"} | UPS Room MPGP Issues ${ups_rm_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${ups_rm_mpgp_label ¦ checked:"yes"} | Undersized ${ups_rm_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_rm_mpgp_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${ups_rm_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's ${ups_rm_mpgp_add_count} | Wrong equipment bonded to MPGP ${ups_rm_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? ${ups_rm_spgp ¦ checked:"yes"} Yes ${ups_rm_spgp ¦ checked:"no"} No | UPS Room SPGP Count ${ups_rm_spgp_count} |
| --- | --- |
| Are they correct? ${ups_rm_spgp_correct ¦ checked:"yes"} Yes ${ups_rm_spgp_correct ¦ checked:"no"} No | UPS Room SPGP Photos ${if ups_rm_spgp_photos}${# ups_rm_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Room SPGP Notes ${ups_rm_spgp_general_notes ¦ appearance:"multiline"} | UPS Room SPGP Issues ${ups_rm_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${ups_rm_spgp_label ¦ checked:"yes"} | Undersized ${ups_rm_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${ups_rm_spgp_to_double_lug ¦ checked:"yes"} | Is incorrectly interconnected with the MPG System (remove the interconnections) ${ups_rm_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 ${ups_rm_spgp_interconnect ¦ checked:"yes"} | Need to add additional SPGP's ${ups_rm_spgp_add_count} |
| Wrong equipment bonded to SPGP ${ups_rm_spgp_wrong_bonds ¦ checked:"yes"} |  |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? ${ups_rm_eqp_bonds ¦ checked:"yes"} Yes ${ups_rm_eqp_bonds ¦ checked:"no"} No | How many? ${ups_rm_eqp_bonds_count} |
| --- | --- |
| Is the equipment bonded to the MPG System? ${ups_rm_eqp_bond_mpg ¦ checked:"yes"} Yes ${ups_rm_eqp_bond_mpg ¦ checked:"no"} No | How many? ${ups_rm_eqp_bond_mpg_count} |
| UPS Building Equipment Bonding Photos ${if ups_rm_eqp_photos}${# ups_rm_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | UPS Building Equipment Bonding Notes ${ups_rm_eqp_general_notes ¦ appearance:"multiline"} |
| UPS Building Equipment Bonding Issues ${ups_rm_eqp_general_issues ¦ appearance:"multiline"} | How many pieces need bonding to the MPGP's ${ups_rm_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's ${ups_rm_eqp_to_spgp} | Cable tray needs bonded at the ends ${ups_rm_eqp_cable_tray} |
| Junction boxes ${ups_rm_eqp_jct_box} | E/G ${ups_rm_eqp_eg} |
| ATS ${ups_rm_eqp_ats} | SPD ${ups_rm_eqp_spd} |
| Battery/UPS rack ${ups_rm_eqp_batt_ups} | Conduits ${ups_rm_eqp_conduits} |

Interior EG Building

Interior MPG System

| Does the facility have Main Ground Plate? ${eg_mpg ¦ checked:"yes"} Yes ${eg_mpg ¦ checked:"no"} No | Is it correct? ${eg_mpg_correct ¦ checked:"yes"} Yes ${eg_mpg_correct ¦ checked:"no"} No |
| --- | --- |
| EG Building MPG Photos ${if eg_mpg_photos}${# eg_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | EG Building MPG Notes ${eg_mpg_general_notes ¦ appearance:"multiline"} |
| EG Building MPG Issues ${eg_mpg_general_issues ¦ appearance:"multiline"} | Needs label changed ${eg_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${eg_mpg_bond_to_ees ¦ checked:"yes"} | Undersized ${eg_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_mpg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${eg_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? ${eg_spg ¦ checked:"yes"} Yes ${eg_spg ¦ checked:"no"} No | Is it correct? ${eg_spg_correct ¦ checked:"yes"} Yes ${eg_spg_correct ¦ checked:"no"} No |
| --- | --- |
| EG Building SPG Photos ${if eg_spg_photos}${# eg_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | EG Building SPG Notes ${eg_spg_general_notes ¦ appearance:"multiline"} |
| EG Building SPG Issues ${eg_spg_general_issues ¦ appearance:"multiline"} | Needs label changed ${eg_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${eg_spg_bond_to_ees ¦ checked:"yes"} | Undersized ${eg_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_spg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${eg_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? ${eg_mpgp ¦ checked:"yes"} Yes ${eg_mpgp ¦ checked:"no"} No | EG Building MPGP Count ${eg_mpgp_count} |
| --- | --- |
| Are they correct? ${eg_mpgp_correct ¦ checked:"yes"} Yes ${eg_mpgp_correct ¦ checked:"no"} No | EG Building MPGP Photos ${if eg_mpgp_photos}${# eg_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building MPGP Notes ${eg_mpgp_general_notes ¦ appearance:"multiline"} | EG Building MPGP Issues ${eg_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${eg_mpgp_label ¦ checked:"yes"} | Undersized ${eg_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_mpgp_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${eg_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's ${eg_mpgp_add_count} | Wrong equipment bonded to MPGP ${eg_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? ${eg_spgp ¦ checked:"yes"} Yes ${eg_spgp ¦ checked:"no"} No | EG Building SPGP Count ${eg_spgp_count} |
| --- | --- |
| Are they correct? ${eg_spgp_correct ¦ checked:"yes"} Yes ${eg_spgp_correct ¦ checked:"no"} No | EG Building SPGP Photos ${if eg_spgp_photos}${# eg_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building SPGP Notes ${eg_spgp_general_notes ¦ appearance:"multiline"} | EG Building SPGP Issues ${eg_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${eg_spgp_label ¦ checked:"yes"} | Undersized ${eg_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_spgp_to_double_lug ¦ checked:"yes"} | Is incorrectly interconnected with the MPG System (remove the interconnections) ${eg_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 ${eg_spgp_interconnect ¦ checked:"yes"} | Need to add additional SPGP's ${eg_spgp_add_count} |
| Wrong equipment bonded to SPGP ${eg_spgp_wrong_bonds ¦ checked:"yes"} |  |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? ${eg_eqp_bonds ¦ checked:"yes"} Yes ${eg_eqp_bonds ¦ checked:"no"} No | How many? ${eg_eqp_bonds_count} |
| --- | --- |
| Is the equipment bonded to the MPG System? ${eg_eqp_bond_mpg ¦ checked:"yes"} Yes ${eg_eqp_bond_mpg ¦ checked:"no"} No | How many? ${eg_eqp_bond_mpg_count} |
| EG Building Equipment Bonding Photos ${if eg_eqp_photos}${# eg_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | EG Building Equipment Bonding Notes ${eg_eqp_general_notes ¦ appearance:"multiline"} |
| EG Building Equipment Bonding Issues ${eg_eqp_general_issues ¦ appearance:"multiline"} | How many pieces need bonding to the MPGP's ${eg_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's ${eg_eqp_to_spgp} | Cable tray needs bonded at the ends ${eg_eqp_cable_tray} |
| Junction boxes ${eg_eqp_jct_box} | E/G ${eg_eqp_eg} |
| ATS ${eg_eqp_ats} | SPD ${eg_eqp_spd} |
| Battery/UPS rack ${eg_eqp_batt_ups} | Conduits ${eg_eqp_conduits} |

EG Room

Interior MPG System

| Does the facility have Main Ground Plate? ${eg_rm_mpg ¦ checked:"yes"} Yes ${eg_rm_mpg ¦ checked:"no"} No | Is it correct? ${eg_rm_mpg_correct ¦ checked:"yes"} Yes ${eg_rm_mpg_correct ¦ checked:"no"} No |
| --- | --- |
| EG Room MPG Photos ${if eg_rm_mpg_photos}${# eg_rm_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | EG Room MPG Notes ${eg_rm_mpg_general_notes ¦ appearance:"multiline"} |
| EG Room MPG Issues ${eg_rm_mpg_general_issues ¦ appearance:"multiline"} | Needs label changed ${eg_rm_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${eg_rm_mpg_bond_to_ees ¦ checked:"yes"} | Undersized ${eg_rm_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_rm_mpg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${eg_rm_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? ${eg_rm_spg ¦ checked:"yes"} Yes ${eg_rm_spg ¦ checked:"no"} No | Is it correct? ${eg_rm_spg_correct ¦ checked:"yes"} Yes ${eg_rm_spg_correct ¦ checked:"no"} No |
| --- | --- |
| EG Room SPG Photos ${if eg_rm_spg_photos}${# eg_rm_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | EG Room SPG Notes ${eg_rm_spg_general_notes ¦ appearance:"multiline"} |
| EG Room SPG Issues ${eg_rm_spg_general_issues ¦ appearance:"multiline"} | Needs label changed ${eg_rm_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${eg_rm_spg_bond_to_ees ¦ checked:"yes"} | Undersized ${eg_rm_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_rm_spg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${eg_rm_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? ${eg_rm_mpgp ¦ checked:"yes"} Yes ${eg_rm_mpgp ¦ checked:"no"} No | EG Room MPGP Count ${eg_rm_mpgp_count} |
| --- | --- |
| Are they correct? ${eg_rm_mpgp_correct ¦ checked:"yes"} Yes ${eg_rm_mpgp_correct ¦ checked:"no"} No | EG Room MPGP Photos ${if eg_rm_mpgp_photos}${# eg_rm_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room MPGP Notes ${eg_rm_mpgp_general_notes ¦ appearance:"multiline"} | EG Room MPGP Issues ${eg_rm_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${eg_rm_mpgp_label ¦ checked:"yes"} | Undersized ${eg_rm_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_rm_mpgp_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${eg_rm_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's ${eg_rm_mpgp_add_count} | Wrong equipment bonded to MPGP ${eg_rm_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? ${eg_rm_spgp ¦ checked:"yes"} Yes ${eg_rm_spgp ¦ checked:"no"} No | EG Room SPGP Count ${eg_rm_spgp_count} |
| --- | --- |
| Are they correct? ${eg_rm_spgp_correct ¦ checked:"yes"} Yes ${eg_rm_spgp_correct ¦ checked:"no"} No | EG Room SPGP Photos ${if eg_rm_spgp_photos}${# eg_rm_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room SPGP Notes ${eg_rm_spgp_general_notes ¦ appearance:"multiline"} | EG Room SPGP Issues ${eg_rm_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${eg_rm_spgp_label ¦ checked:"yes"} | Undersized ${eg_rm_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${eg_rm_spgp_to_double_lug ¦ checked:"yes"} | Is incorrectly interconnected with the MPG System (remove the interconnections) ${eg_rm_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 ${eg_rm_spgp_interconnect ¦ checked:"yes"} | Need to add additional SPGP's ${eg_rm_spgp_add_count} |
| Wrong equipment bonded to SPGP ${eg_rm_spgp_wrong_bonds ¦ checked:"yes"} |  |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? ${eg_rm_eqp_bonds ¦ checked:"yes"} Yes ${eg_rm_eqp_bonds ¦ checked:"no"} No | How many? ${eg_rm_eqp_bonds_count} |
| --- | --- |
| Is the equipment bonded to the MPG System? ${eg_rm_eqp_bond_mpg ¦ checked:"yes"} Yes ${eg_rm_eqp_bond_mpg ¦ checked:"no"} No | How many? ${eg_rm_eqp_bond_mpg_count} |
| EG Room Equipment Bonding Photos ${if eg_rm_eqp_photos}${# eg_rm_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | EG Room Equipment Bonding Notes ${eg_rm_eqp_general_notes ¦ appearance:"multiline"} |
| EG Room Equipment Bonding Issues ${eg_rm_eqp_general_issues ¦ appearance:"multiline"} | How many pieces need bonding to the MPGP's ${eg_rm_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's ${eg_rm_eqp_to_spgp} | Cable tray needs bonded at the ends ${eg_rm_eqp_cable_tray} |
| Junction boxes ${eg_rm_eqp_jct_box} | E/G ${eg_rm_eqp_eg} |
| ATS ${eg_rm_eqp_ats} | SPD ${eg_rm_eqp_spd} |
| Battery/UPS rack ${eg_rm_eqp_batt_ups} | Conduits ${eg_rm_eqp_conduits} |

Interior Other

Interior MPG System

| Does the facility have Main Ground Plate? ${other_mpg ¦ checked:"yes"} Yes ${other_mpg ¦ checked:"no"} No | Is it correct? ${other_mpg_correct ¦ checked:"yes"} Yes ${other_mpg_correct ¦ checked:"no"} No |
| --- | --- |
| Other MPG Photos ${if other_mpg_photos}${# other_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Other MPG Notes ${other_mpg_general_notes ¦ appearance:"multiline"} |
| Other MPG Issues ${other_mpg_general_issues ¦ appearance:"multiline"} | Needs label changed ${other_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${other_mpg_bond_to_ees ¦ checked:"yes"} | Undersized ${other_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${other_mpg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${other_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? ${other_spg ¦ checked:"yes"} Yes ${other_spg ¦ checked:"no"} No | Is it correct? ${other_spg_correct ¦ checked:"yes"} Yes ${other_spg_correct ¦ checked:"no"} No |
| --- | --- |
| Other SPG Photos ${if other_spg_photos}${# other_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Other SPG Notes ${other_spg_general_notes ¦ appearance:"multiline"} |
| Other SPG Issues ${other_spg_general_issues ¦ appearance:"multiline"} | Needs label changed ${other_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES ${other_spg_bond_to_ees ¦ checked:"yes"} | Undersized ${other_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${other_spg_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${other_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? ${other_mpgp ¦ checked:"yes"} Yes ${other_mpgp ¦ checked:"no"} No | Other MPGP Count ${other_mpgp_count} |
| --- | --- |
| Are they correct? ${other_mpgp_correct ¦ checked:"yes"} Yes ${other_mpgp_correct ¦ checked:"no"} No | Other MPGP Photos ${if other_mpgp_photos}${# other_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other MPGP Notes ${other_mpgp_general_notes ¦ appearance:"multiline"} | Other MPGP Issues ${other_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${other_mpgp_label ¦ checked:"yes"} | Undersized ${other_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${other_mpgp_to_double_lug ¦ checked:"yes"} | Needs interconnected with 4/0 to MPGP ${other_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's ${other_mpgp_add_count} | Wrong equipment bonded to MPGP ${other_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? ${other_spgp ¦ checked:"yes"} Yes ${other_spgp ¦ checked:"no"} No | Other SPGP Count ${other_spgp_count} |
| --- | --- |
| Are they correct? ${other_spgp_correct ¦ checked:"yes"} Yes ${other_spgp_correct ¦ checked:"no"} No | Other SPGP Photos ${if other_spgp_photos}${# other_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other SPGP Notes ${other_spgp_general_notes ¦ appearance:"multiline"} | Other SPGP Issues ${other_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed ${other_spgp_label ¦ checked:"yes"} | Undersized ${other_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals ${other_spgp_to_double_lug ¦ checked:"yes"} | Is incorrectly interconnected with the MPG System (remove the interconnections) ${other_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 ${other_spgp_interconnect ¦ checked:"yes"} | Need to add additional SPGP's ${other_spgp_add_count} |
| Wrong equipment bonded to SPGP ${other_spgp_wrong_bonds ¦ checked:"yes"} |  |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? ${other_eqp_bonds ¦ checked:"yes"} Yes ${other_eqp_bonds ¦ checked:"no"} No | How many? ${other_eqp_bonds_count} |
| --- | --- |
| Is the equipment bonded to the MPG System? ${other_eqp_bond_mpg ¦ checked:"yes"} Yes ${other_eqp_bond_mpg ¦ checked:"no"} No | How many? ${other_eqp_bond_mpg_count} |
| Other Equipment Bonding Photos ${if other_eqp_photos}${# other_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | Other Equipment Bonding Notes ${other_eqp_general_notes ¦ appearance:"multiline"} |
| Other Equipment Bonding Issues ${other_eqp_general_issues ¦ appearance:"multiline"} | How many pieces need bonding to the MPGP's ${other_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's ${other_eqp_to_spgp} | Cable tray needs bonded at the ends ${other_eqp_cable_tray} |
| Junction boxes ${other_eqp_jct_box} | E/G ${other_eqp_other} |
| ATS ${other_eqp_ats} | SPD ${other_eqp_spd} |
| Battery/UPS rack ${other_eqp_batt_ups} | Conduits ${other_eqp_conduits} |

Surge Protective Devices

Surge Protective Devices Inspection

${# SURGE_PROTECTIVE_DEVICES}

| Field | Response |
| --- | --- |
| Details |  |
| Choose Facility Location | ${spd_section_selector ¦ checked:"BaseBuilding"} Base Building ${spd_section_selector ¦ checked:"Tower"} Tower ${spd_section_selector ¦ checked:"TRACON"} TRACON ${spd_section_selector ¦ checked:"EngineBuilding"} Engine Building ${spd_section_selector ¦ checked:"UPSBuilding"} UPS Building |
| Describe the Location | ${spd_location_description} |
| Floor # | ${floor_number} |
| Room # | ${room_number} |
| SPD General Photos | ${if spd_images}${# spd_images}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| SPD General Notes | ${spd_general_notes ¦ appearance:"multiline"} |
| SPD General Issues | ${spd_general_issues ¦ appearance:"multiline"} |
| Surge Protective Devices |  |
| Is this a service entrance/first point of entry to facility/transfer switch or feeder panel? | ${spd_poe ¦ checked:"Service Entrance"} Service Entrance ${spd_poe ¦ checked:"Feeder Panel"} Feeder Panel |
| What is the voltage? | ${spd_voltage ¦ checked:"208/120 3 Phase"} 208/120 3 Phase ${spd_voltage ¦ checked:"480/277 3 Phase"} 480/277 3 Phase ${spd_voltage ¦ checked:"240/120 Single Phase"} 240/120 Single Phase ${spd_voltage ¦ checked:"480 Delta 3 Phase"} 480 Delta 3 Phase ${spd_voltage ¦ checked:"380/220 3 Phase"} 380/220 3 Phase |
| Is there currently an SPD installed? | ${spd_installed ¦ checked:"yes"} Yes ${spd_installed ¦ checked:"no"} No ${spd_installed ¦ checked:"n/a"} N/A |
| What is the amperage of the panel? | ${spd_amp} |
| Panel Label | ${spd_label} |
| Is there an existing breaker or disconnect? | ${spd_break_disc ¦ checked:"yes"} Yes ${spd_break_disc ¦ checked:"no"} No ${spd_break_disc ¦ checked:"n/a"} N/A |
| If so, what size? | ${spd_break_disc_size} |
| If not, is there room in the panel for another breaker? | ${spd_break_disc_room ¦ checked:"yes"} Yes ${spd_break_disc_room ¦ checked:"no"} No ${spd_break_disc_room ¦ checked:"n/a"} N/A |
| Describe setup | ${spd_break_disc_notes ¦ appearance:"multiline"} |
| Recommended SPD Model | ${spd_model} |
| SPD Photo | ${if spd_photo}${# spd_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |

${/}

Submit Survey

Submitting Your Survey

| Survey Date ${survey_date ¦ format:"MM/DD/YYYY"} |  |
| --- | --- |