Table of Contents

Site Information	3

Site Points of Contact	4

Survey Participants	4

Equipment Staging and Cabinets layout	5

Route for the Cabinets	5

Equipment Staging, Work Area and Storage	6

Cabinets Layout and Placement Information	6

System Wide Settings	7

System Cabling	8

Cable Lengths	8

Table 4-1: APCMS CSW to APC ASW Cabinets Cable Length	8

Table 4-2: APCMS CSW to APC ASW Cabinets Cable Length	8

Installation	9

Equipment Room	9

RCE Changes	9

Power, Grounding and Demarcation	10

Cabinet Power Requirements	10

Client Power Requirements	10

Grounding	10

Demarcation Cabling	10

Comments	12

LPGBS Site Survey

SITE SURVEY WORKBOOK

Report Version 1.0
Survey Version ${survey_version}
XLSForm Version 2.1

(Date)

|  | ${survey_date ¦ format:"MM/DD/YYYY HH:mm"} |  |
| --- | --- | --- |

Facility Data and Desktop Inspection

| Project Name | ${project_name} |
| --- | --- |
| JCN | ${jcn} |
| JON | ${jon} |
| Address | ${address} |
| City | ${loc_city} |
| State | ${loc_state} |
| County | ${county} |
| Service Area | ${service_area} |
| ATCT Level/Tier | ${atct_tier} |
| Year Built | ${year_built} |
| Tower Owner | ${tower_owner} |
| Is this a FAA-owned tower? | ${faa_owned ¦ checked:"yes"} Yes ${faa_owned ¦ checked:"no"} No ${faa_owned ¦ checked:"n/a"} N/A |
| If this is a non-FAA-owned tower, obtain the lease document | ${lease_document} |
| Are there LPGBS drawings available? | ${drawings_available ¦ checked:"yes"} Yes ${drawings_available ¦ checked:"no"} No ${drawings_available ¦ checked:"n/a"} N/A |
| Obtain exterior lightning protection system drawing | ${if ext_lightning_protect_drawing}${# ext_lightning_protect_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Obtain earth electrode system (EES) drawing | ${if ees_drawing}${# ees_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Obtain interior electronic ground drawing | ${if int_elect_grounding_drawing}${# int_elect_grounding_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Obtain electrical one-line drawing with surge protective devices | ${if elect_one_line_drawing}${# elect_one_line_drawing}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| If drawing available, look up height info and enter drawing reference # | ${height_reference_drawing} |
| ATCT Height | ${atct_height} |
| Height measured from ground level to | ${height_measured_from} |
| If drawing available, look up sides info and enter drawing reference # | ${sides_reference_drawing} |
| # of Sides of ATCT Building | ${tower_sides} |
| Is the facility a standalone ATCT or with attached base building or integrated with airport structure | ${standalone_atct ¦ appearance:"multiline"} |
| Is TRACON facility attached to the ATCT | ${tracon_attached ¦ checked:"yes"} Yes ${tracon_attached ¦ checked:"no"} No ${tracon_attached ¦ checked:"n/a"} N/A |
| What is the ATCT building exterior/panel material | ${building_exterior_material ¦ checked:"Concrete"} Concrete ${building_exterior_material ¦ checked:"AluminumPanels"} Aluminum Panels |
| Function of cable chases | ${cable_chase_function} |
| Number of cable chases | ${number_cable_chases} |
| Is there a roof-top ASDE | ${rooftop_asde ¦ checked:"yes"} Yes ${rooftop_asde ¦ checked:"no"} No ${rooftop_asde ¦ checked:"n/a"} N/A |
| Survey Version | ${survey_version} |

Survey Participants

| Name | Title | Organization | Phone |
| --- | --- | --- | --- |
| ${# SURVEY_PARTICIPANTS}${name} | ${title} | ${organization} | ${phone}${/} |

Survey Information

| Location | ${location} |
| --- | --- |
| LOC ID | ${loc_id} |
| Fac Type | ${fac_type} |
| Form Type | ${form_type ¦ checked:"Streamlined"} Streamlined ${form_type ¦ checked:"Guided"} Guided |
| Survey Elements | ${survey_elements ¦ checked:"Gate_Fence"} Gate/Fence ${survey_elements ¦ checked:"EES"} EES ${survey_elements ¦ checked:"Tower"} Tower ${survey_elements ¦ checked:"Base_Building"} Base Building ${survey_elements ¦ checked:"UPS_Building"} UPS Building ${survey_elements ¦ checked:"UPS_Room"} UPS Room ${survey_elements ¦ checked:"EG_Building"} EG Building ${survey_elements ¦ checked:"EG_Outdoors"} EG Outdoors ${survey_elements ¦ checked:"EG_Room"} EG Room ${survey_elements ¦ checked:"Other"} Other |
| Provide a general description of the tower site | ${site_description ¦ appearance:"multiline"} |
| General Photos | ${if general_photos}${# general_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |

Site Contact Information

| Name | ${dm_name} |
| --- | --- |
| Title | ${dm_title} |
| Email | ${dm_email} |
| Phone | ${dm_phone} |
| Date Contacted | ${dm_contacted_date ¦ format:"MM/DD/YYYY"} |
| Team Member Who Made Contact | ${dm_who_contacted} |
| Name | ${fm_name} |
| Title | ${fm_title} |
| Email | ${fm_email} |
| Phone | ${fm_phone} |
| Date Contacted | ${fm_contacted_date ¦ format:"MM/DD/YYYY"} |
| Team Member Who Made Contact | ${fm_who_contacted} |
| Name | ${tm_name} |
| Title | ${tm_title} |
| Email | ${tm_email} |
| Phone | ${tm_phone} |
| Date Contacted | ${tm_contacted_date ¦ format:"MM/DD/YYYY"} |
| Team Member Who Made Contact | ${tm_who_contacted} |
| Name | ${esu_name} |
| Title | ${esu_title} |
| Email | ${esu_email} |
| Phone | ${esu_phone} |
| Date Contacted | ${esu_contacted_date ¦ format:"MM/DD/YYYY"} |
| Team Member Who Made Contact | ${esu_who_contacted} |

Gates and Fence Grounding

Gates and Fence Grounding Inspection

| Describe the Location | 8.0 Is there a fence around the facility? | Gates and Fence General Photos | Gates and Fence General Notes | Gates and Fence General Issues |
| --- | --- | --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${gfg_location_description} | ${fence_present ¦ checked:"yes"} Yes ${fence_present ¦ checked:"no"} No | ${if gates_fence_images}${# gates_fence_images}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gates_fence_general_notes ¦ appearance:"multiline"} | ${gates_fence_general_issues ¦ appearance:"multiline"}${/} |

| 8.1 Are gates bonded to the adjacent posts with flexible 4/0 or copper braided straps( 1" x 1/8")? | 8.1 Photo | 8.1 Findings | 8.1 Recommendations | 8.2 Are the gate bonding jumpers made of insulated 4/0 AWG flexible (welding) copper conductors or copper straps (1 inch by 1/8 inch)? |
| --- | --- | --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${gfg_bonded_to_posts ¦ checked:"yes"} Yes ${gfg_bonded_to_posts ¦ checked:"no"} No ${gfg_bonded_to_posts ¦ checked:"n/a"} N/A | ${if gfg_bonded_to_posts_photo}${# gfg_bonded_to_posts_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gfg_bonded_to_posts_note ¦ appearance:"multiline"} | ${gfg_bonded_to_posts_rec ¦ appearance:"multiline"} | ${gfg_copper_connectors ¦ checked:"yes"} Yes ${gfg_copper_connectors ¦ checked:"no"} No ${gfg_copper_connectors ¦ checked:"n/a"} N/A${/} |

| 8.2 Photo | 8.2 Findings | 8.2 Recommendations | 8.3 Is an exothermic weld-type connection used to bond the conductors/straps to the gates/posts? | 8.3 Photo |
| --- | --- | --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${if gfg_copper_connect_photo}${# gfg_copper_connect_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gfg_copper_connect_note ¦ appearance:"multiline"} | ${gfg_copper_connect_rec ¦ appearance:"multiline"} | ${gfg_exo_weld ¦ checked:"yes"} Yes ${gfg_exo_weld ¦ checked:"no"} No ${gfg_exo_weld ¦ checked:"n/a"} N/A | ${if gfg_exo_weld_photo}${# gfg_exo_weld_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/}${/} |

| 8.3 If not, please describe the bonding method: | 8.3 Recommendations | 8.4 Are the posts on each side of the gates bonded to the ground rod with 4/0 AWG bare copper conductor? | 8.4 Photo | 8.4 Findings |
| --- | --- | --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${gfg_bonding_method ¦ appearance:"multiline"} | ${gfg_exo_weld_rec ¦ appearance:"multiline"} | ${gfg_bonded_to_ground ¦ checked:"yes"} Yes ${gfg_bonded_to_ground ¦ checked:"no"} No ${gfg_bonded_to_ground ¦ checked:"n/a"} N/A | ${if gfg_bonded_to_ground_photo}${# gfg_bonded_to_ground_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gfg_bonded_to_ground_note ¦ appearance:"multiline"}${/} |

| 8.4 Recommendations | 8.5 Are both gate posts ground rods interconnected below ground with 4/0 AWG bare copper conductor? | 8.5 Photo | 8.5 Findings | 8.5 Recommendations |
| --- | --- | --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${gfg_bonded_to_ground_rec ¦ appearance:"multiline"} | ${gfg_bonded_below_ground ¦ checked:"yes"} Yes ${gfg_bonded_below_ground ¦ checked:"no"} No ${gfg_bonded_below_ground ¦ checked:"n/a"} N/A | ${if gfg_bonded_below_ground_photo}${# gfg_bonded_below_ground_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gfg_bonded_below_ground_note ¦ appearance:"multiline"} | ${gfg_bonded_below_ground_rec ¦ appearance:"multiline"}${/} |

| 8.6 Is there a horizontal bare 6 AWG stranded tinned copper conductor threaded through the metal fabric of the gate? | 8.6 Photo | 8.6 Findings | 8.6 Recommendations | 8.7 Is there an adjoining non-FAA-owned fence connected to the existing FAA perimeter fence? If so, is it electrically isolated? |
| --- | --- | --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${gfg_awg_copper ¦ checked:"yes"} Yes ${gfg_awg_copper ¦ checked:"no"} No ${gfg_awg_copper ¦ checked:"n/a"} N/A | ${if gfg_awg_copper_photo}${# gfg_awg_copper_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gfg_awg_copper_note ¦ appearance:"multiline"} | ${gfg_awg_copper_rec ¦ appearance:"multiline"} | ${gfg_adjoining_fence ¦ checked:"yes"} Yes ${gfg_adjoining_fence ¦ checked:"no"} No ${gfg_adjoining_fence ¦ checked:"n/a"} N/A${/} |

| 8.7 Photo | 8.7 Findings | 8.7 Recommendations |
| --- | --- | --- |
| ${# GATES_FENCE_GROUNDING}${if gfg_adjoining_fence_photo}${# gfg_adjoining_fence_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${gfg_adjoining_fence_note ¦ appearance:"multiline"} | ${gfg_adjoining_fence_rec ¦ appearance:"multiline"}${/} |

Earth Electrode System

Earth Electrode System Inspection

| Choose Facility Location | Describe the Location | Will a ground resistance test be performed? | How many ground resistance tests will be performed? | EES General Photos |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${ees_section_selector ¦ checked:"BaseBuilding"} Base Building ${ees_section_selector ¦ checked:"Tower"} Tower ${ees_section_selector ¦ checked:"TRACON"} TRACON ${ees_section_selector ¦ checked:"EngineBuilding"} Engine Building ${ees_section_selector ¦ checked:"UPSBuilding"} UPS Building | ${ees_location_description} | ${grt_performed ¦ checked:"yes"} Yes ${grt_performed ¦ checked:"no"} No | ${grt_count ¦ checked:"1"} 1 ${grt_count ¦ checked:"2"} 2 ${grt_count ¦ checked:"3"} 3 ${grt_count ¦ checked:"4"} 4 | ${if ees_general_photos}${# ees_general_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/}${/} |

| EES General Notes | EES General Issues | Z | Y1 | Ohms 1 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${ees_general_notes ¦ appearance:"multiline"} | ${ees_general_issues ¦ appearance:"multiline"} | ${z_distance_1 ¦ checked:"100"} 100 ${z_distance_1 ¦ checked:"200"} 200 | ${y_probe_1_1} | ${resistance_1_1}${/} |

| Y2 | Ohms 2 | Y3 | Ohms 3 | Y4 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_1_2} | ${resistance_1_2} | ${y_probe_1_3} | ${resistance_1_3} | ${y_probe_1_4}${/} |

| Ohms 4 | Y5 | Ohms 5 | Y6 | Ohms 6 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_1_4} | ${y_probe_1_5} | ${resistance_1_5} | ${y_probe_1_6} | ${resistance_1_6}${/} |

| Y7 | Ohms 7 | Y8 | Ohms 8 | Y9 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_1_7} | ${resistance_1_7} | ${y_probe_1_8} | ${resistance_1_8} | ${y_probe_1_9}${/} |

| Ohms 9 | Y10 | Ohms 10 | Z | Y1 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_1_9} | ${y_probe_1_10} | ${resistance_1_10} | ${z_distance_2 ¦ checked:"100"} 100 ${z_distance_2 ¦ checked:"200"} 200 | ${y_probe_2_1}${/} |

| Ohms 1 | Y2 | Ohms 2 | Y3 | Ohms 3 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_2_1} | ${y_probe_2_2} | ${resistance_2_2} | ${y_probe_2_3} | ${resistance_2_3}${/} |

| Y4 | Ohms 4 | Y5 | Ohms 5 | Y6 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_2_4} | ${resistance_2_4} | ${y_probe_2_5} | ${resistance_2_5} | ${y_probe_2_6}${/} |

| Ohms 6 | Y7 | Ohms 7 | Y8 | Ohms 8 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_2_6} | ${y_probe_2_7} | ${resistance_2_7} | ${y_probe_2_8} | ${resistance_2_8}${/} |

| Y9 | Ohms 9 | Y10 | Ohms 10 | Z |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_2_9} | ${resistance_2_9} | ${y_probe_2_10} | ${resistance_2_10} | ${z_distance_3 ¦ checked:"100"} 100 ${z_distance_3 ¦ checked:"200"} 200${/} |

| Y1 | Ohms 1 | Y2 | Ohms 2 | Y3 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_3_1} | ${resistance_3_1} | ${y_probe_3_2} | ${resistance_3_2} | ${y_probe_3_3}${/} |

| Ohms 3 | Y4 | Ohms 4 | Y5 | Ohms 5 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_3_3} | ${y_probe_3_4} | ${resistance_3_4} | ${y_probe_3_5} | ${resistance_3_5}${/} |

| Y6 | Ohms 6 | Y7 | Ohms 7 | Y8 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_3_6} | ${resistance_3_6} | ${y_probe_3_7} | ${resistance_3_7} | ${y_probe_3_8}${/} |

| Ohms 8 | Y9 | Ohms 9 | Y10 | Ohms 10 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_3_8} | ${y_probe_3_9} | ${resistance_3_9} | ${y_probe_3_10} | ${resistance_3_10}${/} |

| Z | Y1 | Ohms 1 | Y2 | Ohms 2 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${z_distance_4 ¦ checked:"100"} 100 ${z_distance_4 ¦ checked:"200"} 200 | ${y_probe_4_1} | ${resistance_4_1} | ${y_probe_4_2} | ${resistance_4_2}${/} |

| Y3 | Ohms 3 | Y4 | Ohms 4 | Y5 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_4_3} | ${resistance_4_3} | ${y_probe_4_4} | ${resistance_4_4} | ${y_probe_4_5}${/} |

| Ohms 5 | Y6 | Ohms 6 | Y7 | Ohms 7 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_4_5} | ${y_probe_4_6} | ${resistance_4_6} | ${y_probe_4_7} | ${resistance_4_7}${/} |

| Y8 | Ohms 8 | Y9 | Ohms 9 | Y10 |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${y_probe_4_8} | ${resistance_4_8} | ${y_probe_4_9} | ${resistance_4_9} | ${y_probe_4_10}${/} |

| Ohms 10 | Average Resistance | 7.1 In prohibited areas, where exothermic weld may not be used, are hydraulically crimped connections employed? | 7.1 Photo | 7.1 Findings |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${resistance_4_10} | ${average_resistance} | ${ees_crimps ¦ checked:"yes"} Yes ${ees_crimps ¦ checked:"no"} No ${ees_crimps ¦ checked:"n/a"} N/A | ${if ees_crimps_photo}${# ees_crimps_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${ees_crimps_note ¦ appearance:"multiline"}${/} |

| 7.1 Recommendations | 7.2 Does the access well exist? | 7.2 Photo | 7.2 Number of Access Wells / Findings | 7.2 Recommendations |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${ees_crimps_rec ¦ appearance:"multiline"} | ${ees_access_well ¦ checked:"yes"} Yes ${ees_access_well ¦ checked:"no"} No ${ees_access_well ¦ checked:"n/a"} N/A | ${if ees_access_well_photo}${# ees_access_well_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${ees_access_well_note ¦ appearance:"multiline"} | ${ees_access_well_rec ¦ appearance:"multiline"}${/} |

| 7.4 Are all connections in access well exothermically bonded? | 7.4 Photo | 7.4 What is the condition of the connections? | 7.4 Recommendations | 7.5 Using 62% “Fall of Potential” method, does the earth electrode system measure 10 ohms or less or as required in the specification? |
| --- | --- | --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${ees_connect_condition ¦ checked:"yes"} Yes ${ees_connect_condition ¦ checked:"no"} No ${ees_connect_condition ¦ checked:"n/a"} N/A | ${if ees_connect_condition_photo}${# ees_connect_condition_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${ees_connect_condition_note ¦ appearance:"multiline"} | ${ees_connect_condition_rec ¦ appearance:"multiline"} | ${ees_under_10_ohms ¦ checked:"yes"} Yes ${ees_under_10_ohms ¦ checked:"no"} No ${ees_under_10_ohms ¦ checked:"n/a"} N/A${/} |

| 7.5 Photo | 7.5 Findings | 7.5 Recommendations |
| --- | --- | --- |
| ${# EARTH_ELECTRODE_SYSTEM}${if ees_under_10_ohms_photo}${# ees_under_10_ohms_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} | ${ees_under_10_ohms_note ¦ appearance:"multiline"} | ${ees_under_10_ohms_rec ¦ appearance:"multiline"}${/} |

Tower

Air Terminals

| Does the facility have air terminals? | ${tower_at ¦ checked:"yes"} Yes ${tower_at ¦ checked:"no"} No |
| --- | --- |
| Air Terminal Photos | ${if tower_at_photos}${# tower_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Air Terminal Notes | ${tower_at_general_notes ¦ appearance:"multiline"} |
| Air Terminal Issues | ${tower_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals | ${tower_at_new_at_qty} |
| Replace missing/broken air terminals | ${tower_at_replace_at_qty} |
| Fix air terminal mast | ${tower_at_fix_at_qty} |

Down Conductors

| Does the facility have down conductors? | ${tower_dc ¦ checked:"yes"} Yes ${tower_dc ¦ checked:"no"} No |
| --- | --- |
| Down Conductor Photos | ${if tower_dc_photos}${# tower_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Down Conductor Notes | ${tower_dc_general_notes ¦ appearance:"multiline"} |
| Down Conductor Issues | ${tower_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility | ${tower_dc_new_qty} |
| Convert existing dc to 4/0 | ${tower_dc_convert_to_4_0} |
| Secure every 3 feet | ${tower_dc_secure_3_feet} |
| Bond dc to lower tower section with exothermic welds | ${tower_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop | ${tower_dc_add_t_cross} |
| Add new eq loop on handrail and bond to existing dc from air terminals | ${tower_dc_new_eq_handrail} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? | ${tower_ext_metal ¦ checked:"yes"} Yes ${tower_ext_metal ¦ checked:"no"} No |
| --- | --- |
| Exterior Metallic Objects Photos | ${if tower_ext_metal_photos}${# tower_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Metallic Objects Notes | ${tower_ext_metal_general_notes ¦ appearance:"multiline"} |
| Exterior Metallic Objects Issues | ${tower_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac | ${tower_ext_metal_hvac} |
| Junction box | ${tower_ext_metal_j_box} |
| Conduit | ${tower_ext_metal_conduit} |
| Doors | ${tower_ext_metal_doors} |
| Service Rack | ${tower_ext_metal_serve_rack} |
| Load bank | ${tower_ext_metal_load_bank} |
| FST | ${tower_ext_metal_fst} |
| Antenna Masts | ${tower_ext_metal_ant_mast} |
| Ob Lights | ${tower_ext_metal_ob_light} |
| Exhaust Stack | ${tower_ext_metal_exhaust} |
| Awning/Metal Structure | ${tower_ext_metal_awning} |
| Vent/Louvers | ${tower_ext_metal_vent} |
| Stairs | ${tower_ext_metal_stairs} |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? | ${tower_ext_bulk ¦ checked:"yes"} Yes ${tower_ext_bulk ¦ checked:"no"} No |
| --- | --- |
| Are the bulkhead plates correct? | ${tower_ext_bulk_correct ¦ checked:"yes"} Yes ${tower_ext_bulk_correct ¦ checked:"no"} No |
| Exterior Bulkhead Plates Photos | ${if tower_ext_bulk_photos}${# tower_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Bulkhead Plates Notes | ${tower_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues | ${tower_ext_bulk_general_issues ¦ appearance:"multiline"} |
| Plates are undersized, min 1/4" x 4" | ${tower_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 | ${tower_ext_bulk_j_box} |
| Plates need corrected to double lug terminals | ${tower_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition | ${tower_ext_bulk_doors ¦ checked:"yes"} |
| Bond ice bridge to bh plate | ${tower_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG | ${tower_ext_bulk_load_bank ¦ checked:"yes"} |

Exterior Base Building

Air Terminals

| Does the facility have air terminals? | ${bb_at ¦ checked:"yes"} Yes ${bb_at ¦ checked:"no"} No |
| --- | --- |
| Air Terminal Photos | ${if bb_at_photos}${# bb_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Air Terminal Notes | ${bb_at_general_notes ¦ appearance:"multiline"} |
| Air Terminal Issues | ${bb_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals | ${bb_at_new_at_qty} |
| Replace missing/broken air terminals | ${bb_at_replace_at_qty} |
| Fix air terminal mast | ${bb_at_fix_at_qty} |

Down Conductors

| Does the facility have down conductors? | ${bb_dc ¦ checked:"yes"} Yes ${bb_dc ¦ checked:"no"} No |
| --- | --- |
| Down Conductor Photos | ${if bb_dc_photos}${# bb_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Down Conductor Notes | ${bb_dc_general_notes ¦ appearance:"multiline"} |
| Down Conductor Issues | ${bb_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility | ${bb_dc_new_qty} |
| Convert existing dc to 4/0 | ${bb_dc_convert_to_4_0} |
| Secure every 3 feet | ${bb_dc_secure_3_feet} |
| Bond dc to lower tower section with exothermic welds | ${bb_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop | ${bb_dc_add_t_cross} |
| Add new eq loop on handrail and bond to existing dc from air terminals | ${bb_dc_new_eq_handrail} |
| Install new eq loop on roof | ${bb_dc_new_eq_roof} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? | ${bb_ext_metal ¦ checked:"yes"} Yes ${bb_ext_metal ¦ checked:"no"} No |
| --- | --- |
| Exterior Metallic Objects Photos | ${if bb_ext_metal_photos}${# bb_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Metallic Objects Notes | ${bb_ext_metal_general_notes ¦ appearance:"multiline"} |
| Exterior Metallic Objects Issues | ${bb_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac | ${bb_ext_metal_hvac} |
| Junction box | ${bb_ext_metal_j_box} |
| Conduit | ${bb_ext_metal_conduit} |
| Doors | ${bb_ext_metal_doors} |
| Service Rack | ${bb_ext_metal_serve_rack} |
| Load bank | ${bb_ext_metal_load_bank} |
| FST | ${bb_ext_metal_fst} |
| Antenna Masts | ${bb_ext_metal_ant_mast} |
| Ob Lights | ${bb_ext_metal_ob_light} |
| Exhaust Stack | ${bb_ext_metal_exhaust} |
| Awning/Metal Structure | ${bb_ext_metal_awning} |
| Vent/Louvers | ${bb_ext_metal_vent} |
| Stairs | ${bb_ext_metal_stairs} |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? | ${bb_ext_bulk ¦ checked:"yes"} Yes ${bb_ext_bulk ¦ checked:"no"} No |
| --- | --- |
| Are the bulkhead plates correct? | ${bb_ext_bulk_correct ¦ checked:"yes"} Yes ${bb_ext_bulk_correct ¦ checked:"no"} No |
| Exterior Bulkhead Plates Photos | ${if bb_ext_bulk_photos}${# bb_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Bulkhead Plates Notes | ${bb_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues | ${bb_ext_bulk_general_issues ¦ appearance:"multiline"} |
| Plates are undersized, min 1/4" x 4" | ${bb_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 | ${bb_ext_bulk_j_box} |
| Plates need corrected to double lug terminals | ${bb_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition | ${bb_ext_bulk_doors ¦ checked:"yes"} |
| Bond ice bridge to bh plate | ${bb_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG | ${bb_ext_bulk_load_bank ¦ checked:"yes"} |

Exterior UPS Building

Air Terminals

| Does the facility have air terminals? | ${ups_at ¦ checked:"yes"} Yes ${ups_at ¦ checked:"no"} No |
| --- | --- |
| Air Terminal Photos | ${if ups_at_photos}${# ups_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Air Terminal Notes | ${ups_at_general_notes ¦ appearance:"multiline"} |
| Air Terminal Issues | ${ups_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals | ${ups_at_new_at_qty} |
| Replace missing/broken air terminals | ${ups_at_replace_at_qty} |
| Fix air terminal mast | ${ups_at_fix_at_qty} |

Down Conductors

| Does the facility have down conductors? | ${ups_dc ¦ checked:"yes"} Yes ${ups_dc ¦ checked:"no"} No |
| --- | --- |
| Down Conductor Photos | ${if ups_dc_photos}${# ups_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Down Conductor Notes | ${ups_dc_general_notes ¦ appearance:"multiline"} |
| Down Conductor Issues | ${ups_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility | ${ups_dc_new_qty} |
| Convert existing dc to 4/0 | ${ups_dc_convert_to_4_0} |
| Secure every 3 feet | ${ups_dc_secure_3_feet} |
| Bond dc to lower tower section with exothermic welds | ${ups_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop | ${ups_dc_add_t_cross} |
| Add new eq loop on handrail and bond to existing dc from air terminals | ${ups_dc_new_eq_handrail} |
| Install new eq loop on roof | ${ups_dc_new_eq_roof} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? | ${ups_ext_metal ¦ checked:"yes"} Yes ${ups_ext_metal ¦ checked:"no"} No |
| --- | --- |
| Exterior Metallic Objects Photos | ${if ups_ext_metal_photos}${# ups_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Metallic Objects Notes | ${ups_ext_metal_general_notes ¦ appearance:"multiline"} |
| Exterior Metallic Objects Issues | ${ups_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac | ${ups_ext_metal_hvac} |
| Junction box | ${ups_ext_metal_j_box} |
| Conduit | ${ups_ext_metal_conduit} |
| Doors | ${ups_ext_metal_doors} |
| Service Rack | ${ups_ext_metal_serve_rack} |
| Load bank | ${ups_ext_metal_load_bank} |
| FST | ${ups_ext_metal_fst} |
| Antenna Masts | ${ups_ext_metal_ant_mast} |
| Ob Lights | ${ups_ext_metal_ob_light} |
| Exhaust Stack | ${ups_ext_metal_exhaust} |
| Awning/Metal Structure | ${ups_ext_metal_awning} |
| Vent/Louvers | ${ups_ext_metal_vent} |
| Stairs | ${ups_ext_metal_stairs} |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? | ${ups_ext_bulk ¦ checked:"yes"} Yes ${ups_ext_bulk ¦ checked:"no"} No |
| --- | --- |
| Are the bulkhead plates correct? | ${ups_ext_bulk_correct ¦ checked:"yes"} Yes ${ups_ext_bulk_correct ¦ checked:"no"} No |
| Exterior Bulkhead Plates Photos | ${if ups_ext_bulk_photos}${# ups_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Bulkhead Plates Notes | ${ups_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues | ${ups_ext_bulk_general_issues ¦ appearance:"multiline"} |
| Plates are undersized, min 1/4" x 4" | ${ups_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 | ${ups_ext_bulk_j_box} |
| Plates need corrected to double lug terminals | ${ups_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition | ${ups_ext_bulk_doors ¦ checked:"yes"} |
| Bond ice bridge to bh plate | ${ups_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG | ${ups_ext_bulk_load_bank ¦ checked:"yes"} |

Exterior EG Building

Air Terminals

| Does the facility have air terminals? | ${eg_at ¦ checked:"yes"} Yes ${eg_at ¦ checked:"no"} No |
| --- | --- |
| Air Terminal Photos | ${if eg_at_photos}${# eg_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Air Terminal Notes | ${eg_at_general_notes ¦ appearance:"multiline"} |
| Air Terminal Issues | ${eg_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals | ${eg_at_new_at_qty} |
| Replace missing/broken air terminals | ${eg_at_replace_at_qty} |
| Fix air terminal mast | ${eg_at_fix_at_qty} |

Down Conductors

| Does the facility have down conductors? | ${eg_dc ¦ checked:"yes"} Yes ${eg_dc ¦ checked:"no"} No |
| --- | --- |
| Down Conductor Photos | ${if eg_dc_photos}${# eg_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Down Conductor Notes | ${eg_dc_general_notes ¦ appearance:"multiline"} |
| Down Conductor Issues | ${eg_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility | ${eg_dc_new_qty} |
| Convert existing dc to 4/0 | ${eg_dc_convert_to_4_0} |
| Secure every 3 feet | ${eg_dc_secure_3_feet} |
| Bond dc to lower tower section with exothermic welds | ${eg_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop | ${eg_dc_add_t_cross} |
| Add new eq loop on handrail and bond to existing dc from air terminals | ${eg_dc_new_eq_handrail} |
| Install new eq loop on roof | ${eg_dc_new_eq_roof} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? | ${eg_ext_metal ¦ checked:"yes"} Yes ${eg_ext_metal ¦ checked:"no"} No |
| --- | --- |
| Exterior Metallic Objects Photos | ${if eg_ext_metal_photos}${# eg_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Metallic Objects Notes | ${eg_ext_metal_general_notes ¦ appearance:"multiline"} |
| Exterior Metallic Objects Issues | ${eg_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac | ${eg_ext_metal_hvac} |
| Junction box | ${eg_ext_metal_j_box} |
| Conduit | ${eg_ext_metal_conduit} |
| Doors | ${eg_ext_metal_doors} |
| Service Rack | ${eg_ext_metal_serve_rack} |
| Load bank | ${eg_ext_metal_load_bank} |
| FST | ${eg_ext_metal_fst} |
| Antenna Masts | ${eg_ext_metal_ant_mast} |
| Ob Lights | ${eg_ext_metal_ob_light} |
| Exhaust Stack | ${eg_ext_metal_exhaust} |
| Awning/Metal Structure | ${eg_ext_metal_awning} |
| Vent/Louvers | ${eg_ext_metal_vent} |
| Stairs | ${eg_ext_metal_stairs} |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? | ${eg_ext_bulk ¦ checked:"yes"} Yes ${eg_ext_bulk ¦ checked:"no"} No |
| --- | --- |
| Are the bulkhead plates correct? | ${eg_ext_bulk_correct ¦ checked:"yes"} Yes ${eg_ext_bulk_correct ¦ checked:"no"} No |
| Exterior Bulkhead Plates Photos | ${if eg_ext_bulk_photos}${# eg_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Bulkhead Plates Notes | ${eg_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues | ${eg_ext_bulk_general_issues ¦ appearance:"multiline"} |
| Plates are undersized, min 1/4" x 4" | ${eg_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 | ${eg_ext_bulk_j_box} |
| Plates need corrected to double lug terminals | ${eg_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition | ${eg_ext_bulk_doors ¦ checked:"yes"} |
| Bond ice bridge to bh plate | ${eg_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG | ${eg_ext_bulk_load_bank ¦ checked:"yes"} |

Exterior Engine Generator

Air Terminals

| Does the facility have air terminals? | ${eeg_at ¦ checked:"yes"} Yes ${eeg_at ¦ checked:"no"} No |
| --- | --- |
| Air Terminal Photos | ${if eeg_at_photos}${# eeg_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Air Terminal Notes | ${eeg_at_general_notes ¦ appearance:"multiline"} |
| Air Terminal Issues | ${eeg_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals | ${eeg_at_new_at_qty} |
| Replace missing/broken air terminals | ${eeg_at_replace_at_qty} |
| Fix air terminal mast | ${eeg_at_fix_at_qty} |

Down Conductors

| Does the facility have down conductors? | ${eeg_dc ¦ checked:"yes"} Yes ${eeg_dc ¦ checked:"no"} No |
| --- | --- |
| Down Conductor Photos | ${if eeg_dc_photos}${# eeg_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Down Conductor Notes | ${eeg_dc_general_notes ¦ appearance:"multiline"} |
| Down Conductor Issues | ${eeg_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility | ${eeg_dc_new_qty} |
| Convert existing dc to 4/0 | ${eeg_dc_convert_to_4_0} |
| Secure every 3 feet | ${eeg_dc_secure_3_feet} |
| Bond dc to lower tower section with exothermic welds | ${eeg_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop | ${eeg_dc_add_t_cross} |
| Add new eq loop on handrail and bond to existing dc from air terminals | ${eeg_dc_new_eq_handrail} |
| Install new eq loop on roof | ${eeg_dc_new_eq_roof} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? | ${eeg_ext_metal ¦ checked:"yes"} Yes ${eeg_ext_metal ¦ checked:"no"} No |
| --- | --- |
| Exterior Metallic Objects Photos | ${if eeg_ext_metal_photos}${# eeg_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Metallic Objects Notes | ${eeg_ext_metal_general_notes ¦ appearance:"multiline"} |
| Exterior Metallic Objects Issues | ${eeg_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac | ${eeg_ext_metal_hvac} |
| Junction box | ${eeg_ext_metal_j_box} |
| Conduit | ${eeg_ext_metal_conduit} |
| Doors | ${eeg_ext_metal_doors} |
| Service Rack | ${eeg_ext_metal_serve_rack} |
| Load bank | ${eeg_ext_metal_load_bank} |
| FST | ${eeg_ext_metal_fst} |
| Antenna Masts | ${eeg_ext_metal_ant_mast} |
| Ob Lights | ${eeg_ext_metal_ob_light} |
| Exhaust Stack | ${eeg_ext_metal_exhaust} |
| Awning/Metal Structure | ${eeg_ext_metal_awning} |
| Vent/Louvers | ${eeg_ext_metal_vent} |
| Stairs | ${eeg_ext_metal_stairs} |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? | ${eeg_ext_bulk ¦ checked:"yes"} Yes ${eeg_ext_bulk ¦ checked:"no"} No |
| --- | --- |
| Are the bulkhead plates correct? | ${eeg_ext_bulk_correct ¦ checked:"yes"} Yes ${eeg_ext_bulk_correct ¦ checked:"no"} No |
| Exterior Bulkhead Plates Photos | ${if eeg_ext_bulk_photos}${# eeg_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Bulkhead Plates Notes | ${eeg_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues | ${eeg_ext_bulk_general_issues ¦ appearance:"multiline"} |
| Plates are undersized, min 1/4" x 4" | ${eeg_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 | ${eeg_ext_bulk_j_box} |
| Plates need corrected to double lug terminals | ${eeg_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition | ${eeg_ext_bulk_doors ¦ checked:"yes"} |
| Bond ice bridge to bh plate | ${eeg_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG | ${eeg_ext_bulk_load_bank ¦ checked:"yes"} |

Exterior Other

Air Terminals

| Does the facility have air terminals? | ${other_at ¦ checked:"yes"} Yes ${other_at ¦ checked:"no"} No |
| --- | --- |
| Air Terminal Photos | ${if other_at_photos}${# other_at_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Air Terminal Notes | ${other_at_general_notes ¦ appearance:"multiline"} |
| Air Terminal Issues | ${other_at_general_issues ¦ appearance:"multiline"} |
| New 1/2 x 24 air terminals | ${other_at_new_at_qty} |
| Replace missing/broken air terminals | ${other_at_replace_at_qty} |
| Fix air terminal mast | ${other_at_fix_at_qty} |

Down Conductors

| Does the facility have down conductors? | ${other_dc ¦ checked:"yes"} Yes ${other_dc ¦ checked:"no"} No |
| --- | --- |
| Down Conductor Photos | ${if other_dc_photos}${# other_dc_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Down Conductor Notes | ${other_dc_general_notes ¦ appearance:"multiline"} |
| Down Conductor Issues | ${other_dc_general_issues ¦ appearance:"multiline"} |
| New dc on facility | ${other_dc_new_qty} |
| Convert existing dc to 4/0 | ${other_dc_convert_to_4_0} |
| Secure every 3 feet | ${other_dc_secure_3_feet} |
| Bond dc to lower tower section with exothermic welds | ${other_dc_bond_to_lower} |
| Add t-style crossover connections where the dc crosses horizontal eq loop | ${other_dc_add_t_cross} |
| Add new eq loop on handrail and bond to existing dc from air terminals | ${other_dc_new_eq_handrail} |
| Install new eq loop on roof | ${other_dc_new_eq_roof} |

Exterior Metallic Objects

| Are all exterior metallic objects bonded to EES or bulkhead plate? | ${other_ext_metal ¦ checked:"yes"} Yes ${other_ext_metal ¦ checked:"no"} No |
| --- | --- |
| Exterior Metallic Objects Photos | ${if other_ext_metal_photos}${# other_ext_metal_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Metallic Objects Notes | ${other_ext_metal_general_notes ¦ appearance:"multiline"} |
| Exterior Metallic Objects Issues | ${other_ext_metal_general_issues ¦ appearance:"multiline"} |
| Hvac | ${other_ext_metal_hvac} |
| Junction box | ${other_ext_metal_j_box} |
| Conduit | ${other_ext_metal_conduit} |
| Doors | ${other_ext_metal_doors} |
| Service Rack | ${other_ext_metal_serve_rack} |
| Load bank | ${other_ext_metal_load_bank} |
| FST | ${other_ext_metal_fst} |
| Antenna Masts | ${other_ext_metal_ant_mast} |
| Ob Lights | ${other_ext_metal_ob_light} |
| Exhaust Stack | ${other_ext_metal_exhaust} |
| Awning/Metal Structure | ${other_ext_metal_awning} |
| Vent/Louvers | ${other_ext_metal_vent} |
| Stairs | ${other_ext_metal_stairs} |

Exterior Bulkhead Plates

| Does the facility have exterior bulkhead plates? | ${other_ext_bulk ¦ checked:"yes"} Yes ${other_ext_bulk ¦ checked:"no"} No |
| --- | --- |
| Are the bulkhead plates correct? | ${other_ext_bulk_correct ¦ checked:"yes"} Yes ${other_ext_bulk_correct ¦ checked:"no"} No |
| Exterior Bulkhead Plates Photos | ${if other_ext_bulk_photos}${# other_ext_bulk_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Exterior Bulkhead Plates Notes | ${other_ext_bulk_general_notes ¦ appearance:"multiline"} |
| Exterior Bulkhead Plates Issues | ${other_ext_bulk_general_issues ¦ appearance:"multiline"} |
| Plates are undersized, min 1/4" x 4" | ${other_ext_bulk_hvac} |
| Plates need bonded to EES with 4/0 | ${other_ext_bulk_j_box} |
| Plates need corrected to double lug terminals | ${other_ext_bulk_conduit} |
| Plate needs bonds above 90 degree transition | ${other_ext_bulk_doors ¦ checked:"yes"} |
| Bond ice bridge to bh plate | ${other_ext_bulk_serve_rack ¦ checked:"yes"} |
| Jumper ice bridge sections with #6 AWG | ${other_ext_bulk_load_bank ¦ checked:"yes"} |

Interior Base Building

Interior MPG System

| Does the facility have Main Ground Plate? | ${bb_mpg ¦ checked:"yes"} Yes ${bb_mpg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${bb_mpg_correct ¦ checked:"yes"} Yes ${bb_mpg_correct ¦ checked:"no"} No |
| Base Building MPG Photos | ${if bb_mpg_photos}${# bb_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building MPG Notes | ${bb_mpg_general_notes ¦ appearance:"multiline"} |
| Base Building MPG Issues | ${bb_mpg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${bb_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${bb_mpg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${bb_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${bb_mpg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${bb_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? | ${bb_spg ¦ checked:"yes"} Yes ${bb_spg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${bb_spg_correct ¦ checked:"yes"} Yes ${bb_spg_correct ¦ checked:"no"} No |
| Base Building SPG Photos | ${if bb_spg_photos}${# bb_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building SPG Notes | ${bb_spg_general_notes ¦ appearance:"multiline"} |
| Base Building SPG Issues | ${bb_spg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${bb_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${bb_spg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${bb_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${bb_spg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${bb_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? | ${bb_mpgp ¦ checked:"yes"} Yes ${bb_mpgp ¦ checked:"no"} No |
| --- | --- |
| Base Building MPGP Count | ${bb_mpgp_count} |
| Are they correct? | ${bb_mpgp_correct ¦ checked:"yes"} Yes ${bb_mpgp_correct ¦ checked:"no"} No |
| Base Building MPGP Photos | ${if bb_mpgp_photos}${# bb_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building MPGP Notes | ${bb_mpgp_general_notes ¦ appearance:"multiline"} |
| Base Building MPGP Issues | ${bb_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${bb_mpgp_label ¦ checked:"yes"} |
| Undersized | ${bb_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${bb_mpgp_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${bb_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's | ${bb_mpgp_add_count} |
| Wrong equipment bonded to MPGP | ${bb_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? | ${bb_spgp ¦ checked:"yes"} Yes ${bb_spgp ¦ checked:"no"} No |
| --- | --- |
| Base Building SPGP Count | ${bb_spgp_count} |
| Are they correct? | ${bb_spgp_correct ¦ checked:"yes"} Yes ${bb_spgp_correct ¦ checked:"no"} No |
| Base Building SPGP Photos | ${if bb_spgp_photos}${# bb_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building SPGP Notes | ${bb_spgp_general_notes ¦ appearance:"multiline"} |
| Base Building SPGP Issues | ${bb_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${bb_spgp_label ¦ checked:"yes"} |
| Undersized | ${bb_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${bb_spgp_to_double_lug ¦ checked:"yes"} |
| Is incorrectly interconnected with the MPG System (remove the interconnections) | ${bb_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 | ${bb_spgp_interconnect ¦ checked:"yes"} |
| Need to add additional SPGP's | ${bb_spgp_add_count} |
| Wrong equipment bonded to SPGP | ${bb_spgp_wrong_bonds ¦ checked:"yes"} |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? | ${bb_eqp_bonds ¦ checked:"yes"} Yes ${bb_eqp_bonds ¦ checked:"no"} No |
| --- | --- |
| How many? | ${bb_eqp_bonds_count} |
| Is the equipment bonded to the MPG System? | ${bb_eqp_bond_mpg ¦ checked:"yes"} Yes ${bb_eqp_bond_mpg ¦ checked:"no"} No |
| How many? | ${bb_eqp_bond_mpg_count} |
| Base Building Equipment Bonding Photos | ${if bb_eqp_photos}${# bb_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Base Building Equipment Bonding Notes | ${bb_eqp_general_notes ¦ appearance:"multiline"} |
| Base Building Equipment Bonding Issues | ${bb_eqp_general_issues ¦ appearance:"multiline"} |
| How many pieces need bonding to the MPGP's | ${bb_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's | ${bb_eqp_to_spgp} |
| Cable tray needs bonded at the ends | ${bb_eqp_cable_tray} |
| Junction boxes | ${bb_eqp_jct_box} |
| E/G | ${bb_eqp_eg} |
| ATS | ${bb_eqp_ats} |
| SPD | ${bb_eqp_spd} |
| Battery/UPS rack | ${bb_eqp_batt_ups} |
| Conduits | ${bb_eqp_conduits} |

Interior UPS Building

Interior MPG System

| Does the facility have Main Ground Plate? | ${ups_mpg ¦ checked:"yes"} Yes ${ups_mpg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${ups_mpg_correct ¦ checked:"yes"} Yes ${ups_mpg_correct ¦ checked:"no"} No |
| UPS Building MPG Photos | ${if ups_mpg_photos}${# ups_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building MPG Notes | ${ups_mpg_general_notes ¦ appearance:"multiline"} |
| UPS Building MPG Issues | ${ups_mpg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${ups_mpg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${ups_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_mpg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${ups_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? | ${ups_spg ¦ checked:"yes"} Yes ${ups_spg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${ups_spg_correct ¦ checked:"yes"} Yes ${ups_spg_correct ¦ checked:"no"} No |
| UPS Building SPG Photos | ${if ups_spg_photos}${# ups_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building SPG Notes | ${ups_spg_general_notes ¦ appearance:"multiline"} |
| UPS Building SPG Issues | ${ups_spg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${ups_spg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${ups_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_spg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${ups_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? | ${ups_mpgp ¦ checked:"yes"} Yes ${ups_mpgp ¦ checked:"no"} No |
| --- | --- |
| UPS Building MPGP Count | ${ups_mpgp_count} |
| Are they correct? | ${ups_mpgp_correct ¦ checked:"yes"} Yes ${ups_mpgp_correct ¦ checked:"no"} No |
| UPS Building MPGP Photos | ${if ups_mpgp_photos}${# ups_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building MPGP Notes | ${ups_mpgp_general_notes ¦ appearance:"multiline"} |
| UPS Building MPGP Issues | ${ups_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_mpgp_label ¦ checked:"yes"} |
| Undersized | ${ups_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_mpgp_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${ups_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's | ${ups_mpgp_add_count} |
| Wrong equipment bonded to MPGP | ${ups_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? | ${ups_spgp ¦ checked:"yes"} Yes ${ups_spgp ¦ checked:"no"} No |
| --- | --- |
| UPS Building SPGP Count | ${ups_spgp_count} |
| Are they correct? | ${ups_spgp_correct ¦ checked:"yes"} Yes ${ups_spgp_correct ¦ checked:"no"} No |
| UPS Building SPGP Photos | ${if ups_spgp_photos}${# ups_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building SPGP Notes | ${ups_spgp_general_notes ¦ appearance:"multiline"} |
| UPS Building SPGP Issues | ${ups_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_spgp_label ¦ checked:"yes"} |
| Undersized | ${ups_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_spgp_to_double_lug ¦ checked:"yes"} |
| Is incorrectly interconnected with the MPG System (remove the interconnections) | ${ups_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 | ${ups_spgp_interconnect ¦ checked:"yes"} |
| Need to add additional SPGP's | ${ups_spgp_add_count} |
| Wrong equipment bonded to SPGP | ${ups_spgp_wrong_bonds ¦ checked:"yes"} |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? | ${ups_eqp_bonds ¦ checked:"yes"} Yes ${ups_eqp_bonds ¦ checked:"no"} No |
| --- | --- |
| How many? | ${ups_eqp_bonds_count} |
| Is the equipment bonded to the MPG System? | ${ups_eqp_bond_mpg ¦ checked:"yes"} Yes ${ups_eqp_bond_mpg ¦ checked:"no"} No |
| How many? | ${ups_eqp_bond_mpg_count} |
| UPS Building Equipment Bonding Photos | ${if ups_eqp_photos}${# ups_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building Equipment Bonding Notes | ${ups_eqp_general_notes ¦ appearance:"multiline"} |
| UPS Building Equipment Bonding Issues | ${ups_eqp_general_issues ¦ appearance:"multiline"} |
| How many pieces need bonding to the MPGP's | ${ups_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's | ${ups_eqp_to_spgp} |
| Cable tray needs bonded at the ends | ${ups_eqp_cable_tray} |
| Junction boxes | ${ups_eqp_jct_box} |
| E/G | ${ups_eqp_eg} |
| ATS | ${ups_eqp_ats} |
| SPD | ${ups_eqp_spd} |
| Battery/UPS rack | ${ups_eqp_batt_ups} |
| Conduits | ${ups_eqp_conduits} |

UPS Room

Interior MPG System

| Does the facility have Main Ground Plate? | ${ups_rm_mpg ¦ checked:"yes"} Yes ${ups_rm_mpg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${ups_rm_mpg_correct ¦ checked:"yes"} Yes ${ups_rm_mpg_correct ¦ checked:"no"} No |
| UPS Room MPG Photos | ${if ups_rm_mpg_photos}${# ups_rm_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Room MPG Notes | ${ups_rm_mpg_general_notes ¦ appearance:"multiline"} |
| UPS Room MPG Issues | ${ups_rm_mpg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_rm_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${ups_rm_mpg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${ups_rm_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_rm_mpg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${ups_rm_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? | ${ups_rm_spg ¦ checked:"yes"} Yes ${ups_rm_spg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${ups_rm_spg_correct ¦ checked:"yes"} Yes ${ups_rm_spg_correct ¦ checked:"no"} No |
| UPS Room SPG Photos | ${if ups_rm_spg_photos}${# ups_rm_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Room SPG Notes | ${ups_rm_spg_general_notes ¦ appearance:"multiline"} |
| UPS Room SPG Issues | ${ups_rm_spg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_rm_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${ups_rm_spg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${ups_rm_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_rm_spg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${ups_rm_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? | ${ups_rm_mpgp ¦ checked:"yes"} Yes ${ups_rm_mpgp ¦ checked:"no"} No |
| --- | --- |
| UPS Room MPGP Count | ${ups_rm_mpgp_count} |
| Are they correct? | ${ups_rm_mpgp_correct ¦ checked:"yes"} Yes ${ups_rm_mpgp_correct ¦ checked:"no"} No |
| UPS Room MPGP Photos | ${if ups_rm_mpgp_photos}${# ups_rm_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Room MPGP Notes | ${ups_rm_mpgp_general_notes ¦ appearance:"multiline"} |
| UPS Room MPGP Issues | ${ups_rm_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_rm_mpgp_label ¦ checked:"yes"} |
| Undersized | ${ups_rm_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_rm_mpgp_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${ups_rm_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's | ${ups_rm_mpgp_add_count} |
| Wrong equipment bonded to MPGP | ${ups_rm_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? | ${ups_rm_spgp ¦ checked:"yes"} Yes ${ups_rm_spgp ¦ checked:"no"} No |
| --- | --- |
| UPS Room SPGP Count | ${ups_rm_spgp_count} |
| Are they correct? | ${ups_rm_spgp_correct ¦ checked:"yes"} Yes ${ups_rm_spgp_correct ¦ checked:"no"} No |
| UPS Room SPGP Photos | ${if ups_rm_spgp_photos}${# ups_rm_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Room SPGP Notes | ${ups_rm_spgp_general_notes ¦ appearance:"multiline"} |
| UPS Room SPGP Issues | ${ups_rm_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${ups_rm_spgp_label ¦ checked:"yes"} |
| Undersized | ${ups_rm_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${ups_rm_spgp_to_double_lug ¦ checked:"yes"} |
| Is incorrectly interconnected with the MPG System (remove the interconnections) | ${ups_rm_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 | ${ups_rm_spgp_interconnect ¦ checked:"yes"} |
| Need to add additional SPGP's | ${ups_rm_spgp_add_count} |
| Wrong equipment bonded to SPGP | ${ups_rm_spgp_wrong_bonds ¦ checked:"yes"} |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? | ${ups_rm_eqp_bonds ¦ checked:"yes"} Yes ${ups_rm_eqp_bonds ¦ checked:"no"} No |
| --- | --- |
| How many? | ${ups_rm_eqp_bonds_count} |
| Is the equipment bonded to the MPG System? | ${ups_rm_eqp_bond_mpg ¦ checked:"yes"} Yes ${ups_rm_eqp_bond_mpg ¦ checked:"no"} No |
| How many? | ${ups_rm_eqp_bond_mpg_count} |
| UPS Building Equipment Bonding Photos | ${if ups_rm_eqp_photos}${# ups_rm_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| UPS Building Equipment Bonding Notes | ${ups_rm_eqp_general_notes ¦ appearance:"multiline"} |
| UPS Building Equipment Bonding Issues | ${ups_rm_eqp_general_issues ¦ appearance:"multiline"} |
| How many pieces need bonding to the MPGP's | ${ups_rm_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's | ${ups_rm_eqp_to_spgp} |
| Cable tray needs bonded at the ends | ${ups_rm_eqp_cable_tray} |
| Junction boxes | ${ups_rm_eqp_jct_box} |
| E/G | ${ups_rm_eqp_eg} |
| ATS | ${ups_rm_eqp_ats} |
| SPD | ${ups_rm_eqp_spd} |
| Battery/UPS rack | ${ups_rm_eqp_batt_ups} |
| Conduits | ${ups_rm_eqp_conduits} |

Interior EG Building

Interior MPG System

| Does the facility have Main Ground Plate? | ${eg_mpg ¦ checked:"yes"} Yes ${eg_mpg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${eg_mpg_correct ¦ checked:"yes"} Yes ${eg_mpg_correct ¦ checked:"no"} No |
| EG Building MPG Photos | ${if eg_mpg_photos}${# eg_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building MPG Notes | ${eg_mpg_general_notes ¦ appearance:"multiline"} |
| EG Building MPG Issues | ${eg_mpg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${eg_mpg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${eg_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_mpg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${eg_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? | ${eg_spg ¦ checked:"yes"} Yes ${eg_spg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${eg_spg_correct ¦ checked:"yes"} Yes ${eg_spg_correct ¦ checked:"no"} No |
| EG Building SPG Photos | ${if eg_spg_photos}${# eg_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building SPG Notes | ${eg_spg_general_notes ¦ appearance:"multiline"} |
| EG Building SPG Issues | ${eg_spg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${eg_spg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${eg_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_spg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${eg_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? | ${eg_mpgp ¦ checked:"yes"} Yes ${eg_mpgp ¦ checked:"no"} No |
| --- | --- |
| EG Building MPGP Count | ${eg_mpgp_count} |
| Are they correct? | ${eg_mpgp_correct ¦ checked:"yes"} Yes ${eg_mpgp_correct ¦ checked:"no"} No |
| EG Building MPGP Photos | ${if eg_mpgp_photos}${# eg_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building MPGP Notes | ${eg_mpgp_general_notes ¦ appearance:"multiline"} |
| EG Building MPGP Issues | ${eg_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_mpgp_label ¦ checked:"yes"} |
| Undersized | ${eg_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_mpgp_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${eg_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's | ${eg_mpgp_add_count} |
| Wrong equipment bonded to MPGP | ${eg_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? | ${eg_spgp ¦ checked:"yes"} Yes ${eg_spgp ¦ checked:"no"} No |
| --- | --- |
| EG Building SPGP Count | ${eg_spgp_count} |
| Are they correct? | ${eg_spgp_correct ¦ checked:"yes"} Yes ${eg_spgp_correct ¦ checked:"no"} No |
| EG Building SPGP Photos | ${if eg_spgp_photos}${# eg_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building SPGP Notes | ${eg_spgp_general_notes ¦ appearance:"multiline"} |
| EG Building SPGP Issues | ${eg_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_spgp_label ¦ checked:"yes"} |
| Undersized | ${eg_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_spgp_to_double_lug ¦ checked:"yes"} |
| Is incorrectly interconnected with the MPG System (remove the interconnections) | ${eg_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 | ${eg_spgp_interconnect ¦ checked:"yes"} |
| Need to add additional SPGP's | ${eg_spgp_add_count} |
| Wrong equipment bonded to SPGP | ${eg_spgp_wrong_bonds ¦ checked:"yes"} |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? | ${eg_eqp_bonds ¦ checked:"yes"} Yes ${eg_eqp_bonds ¦ checked:"no"} No |
| --- | --- |
| How many? | ${eg_eqp_bonds_count} |
| Is the equipment bonded to the MPG System? | ${eg_eqp_bond_mpg ¦ checked:"yes"} Yes ${eg_eqp_bond_mpg ¦ checked:"no"} No |
| How many? | ${eg_eqp_bond_mpg_count} |
| EG Building Equipment Bonding Photos | ${if eg_eqp_photos}${# eg_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Building Equipment Bonding Notes | ${eg_eqp_general_notes ¦ appearance:"multiline"} |
| EG Building Equipment Bonding Issues | ${eg_eqp_general_issues ¦ appearance:"multiline"} |
| How many pieces need bonding to the MPGP's | ${eg_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's | ${eg_eqp_to_spgp} |
| Cable tray needs bonded at the ends | ${eg_eqp_cable_tray} |
| Junction boxes | ${eg_eqp_jct_box} |
| E/G | ${eg_eqp_eg} |
| ATS | ${eg_eqp_ats} |
| SPD | ${eg_eqp_spd} |
| Battery/UPS rack | ${eg_eqp_batt_ups} |
| Conduits | ${eg_eqp_conduits} |

EG Room

Interior MPG System

| Does the facility have Main Ground Plate? | ${eg_rm_mpg ¦ checked:"yes"} Yes ${eg_rm_mpg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${eg_rm_mpg_correct ¦ checked:"yes"} Yes ${eg_rm_mpg_correct ¦ checked:"no"} No |
| EG Room MPG Photos | ${if eg_rm_mpg_photos}${# eg_rm_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room MPG Notes | ${eg_rm_mpg_general_notes ¦ appearance:"multiline"} |
| EG Room MPG Issues | ${eg_rm_mpg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_rm_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${eg_rm_mpg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${eg_rm_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_rm_mpg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${eg_rm_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? | ${eg_rm_spg ¦ checked:"yes"} Yes ${eg_rm_spg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${eg_rm_spg_correct ¦ checked:"yes"} Yes ${eg_rm_spg_correct ¦ checked:"no"} No |
| EG Room SPG Photos | ${if eg_rm_spg_photos}${# eg_rm_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room SPG Notes | ${eg_rm_spg_general_notes ¦ appearance:"multiline"} |
| EG Room SPG Issues | ${eg_rm_spg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_rm_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${eg_rm_spg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${eg_rm_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_rm_spg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${eg_rm_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? | ${eg_rm_mpgp ¦ checked:"yes"} Yes ${eg_rm_mpgp ¦ checked:"no"} No |
| --- | --- |
| EG Room MPGP Count | ${eg_rm_mpgp_count} |
| Are they correct? | ${eg_rm_mpgp_correct ¦ checked:"yes"} Yes ${eg_rm_mpgp_correct ¦ checked:"no"} No |
| EG Room MPGP Photos | ${if eg_rm_mpgp_photos}${# eg_rm_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room MPGP Notes | ${eg_rm_mpgp_general_notes ¦ appearance:"multiline"} |
| EG Room MPGP Issues | ${eg_rm_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_rm_mpgp_label ¦ checked:"yes"} |
| Undersized | ${eg_rm_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_rm_mpgp_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${eg_rm_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's | ${eg_rm_mpgp_add_count} |
| Wrong equipment bonded to MPGP | ${eg_rm_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? | ${eg_rm_spgp ¦ checked:"yes"} Yes ${eg_rm_spgp ¦ checked:"no"} No |
| --- | --- |
| EG Room SPGP Count | ${eg_rm_spgp_count} |
| Are they correct? | ${eg_rm_spgp_correct ¦ checked:"yes"} Yes ${eg_rm_spgp_correct ¦ checked:"no"} No |
| EG Room SPGP Photos | ${if eg_rm_spgp_photos}${# eg_rm_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room SPGP Notes | ${eg_rm_spgp_general_notes ¦ appearance:"multiline"} |
| EG Room SPGP Issues | ${eg_rm_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${eg_rm_spgp_label ¦ checked:"yes"} |
| Undersized | ${eg_rm_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${eg_rm_spgp_to_double_lug ¦ checked:"yes"} |
| Is incorrectly interconnected with the MPG System (remove the interconnections) | ${eg_rm_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 | ${eg_rm_spgp_interconnect ¦ checked:"yes"} |
| Need to add additional SPGP's | ${eg_rm_spgp_add_count} |
| Wrong equipment bonded to SPGP | ${eg_rm_spgp_wrong_bonds ¦ checked:"yes"} |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? | ${eg_rm_eqp_bonds ¦ checked:"yes"} Yes ${eg_rm_eqp_bonds ¦ checked:"no"} No |
| --- | --- |
| How many? | ${eg_rm_eqp_bonds_count} |
| Is the equipment bonded to the MPG System? | ${eg_rm_eqp_bond_mpg ¦ checked:"yes"} Yes ${eg_rm_eqp_bond_mpg ¦ checked:"no"} No |
| How many? | ${eg_rm_eqp_bond_mpg_count} |
| EG Room Equipment Bonding Photos | ${if eg_rm_eqp_photos}${# eg_rm_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| EG Room Equipment Bonding Notes | ${eg_rm_eqp_general_notes ¦ appearance:"multiline"} |
| EG Room Equipment Bonding Issues | ${eg_rm_eqp_general_issues ¦ appearance:"multiline"} |
| How many pieces need bonding to the MPGP's | ${eg_rm_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's | ${eg_rm_eqp_to_spgp} |
| Cable tray needs bonded at the ends | ${eg_rm_eqp_cable_tray} |
| Junction boxes | ${eg_rm_eqp_jct_box} |
| E/G | ${eg_rm_eqp_eg} |
| ATS | ${eg_rm_eqp_ats} |
| SPD | ${eg_rm_eqp_spd} |
| Battery/UPS rack | ${eg_rm_eqp_batt_ups} |
| Conduits | ${eg_rm_eqp_conduits} |

Interior Other

Interior MPG System

| Does the facility have Main Ground Plate? | ${other_mpg ¦ checked:"yes"} Yes ${other_mpg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${other_mpg_correct ¦ checked:"yes"} Yes ${other_mpg_correct ¦ checked:"no"} No |
| Other MPG Photos | ${if other_mpg_photos}${# other_mpg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other MPG Notes | ${other_mpg_general_notes ¦ appearance:"multiline"} |
| Other MPG Issues | ${other_mpg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${other_mpg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${other_mpg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${other_mpg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${other_mpg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${other_mpg_interconnect ¦ checked:"yes"} |

Supplemental Ground Plate

| Does the facility have Supplemental Ground Plate? | ${other_spg ¦ checked:"yes"} Yes ${other_spg ¦ checked:"no"} No |
| --- | --- |
| Is it correct? | ${other_spg_correct ¦ checked:"yes"} Yes ${other_spg_correct ¦ checked:"no"} No |
| Other SPG Photos | ${if other_spg_photos}${# other_spg_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other SPG Notes | ${other_spg_general_notes ¦ appearance:"multiline"} |
| Other SPG Issues | ${other_spg_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${other_spg_label ¦ checked:"yes"} |
| Needs 500 mcm or 4/0 to EES | ${other_spg_bond_to_ees ¦ checked:"yes"} |
| Undersized | ${other_spg_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${other_spg_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${other_spg_interconnect ¦ checked:"yes"} |

MPGP

| Does the facility have MPGP's? | ${other_mpgp ¦ checked:"yes"} Yes ${other_mpgp ¦ checked:"no"} No |
| --- | --- |
| Other MPGP Count | ${other_mpgp_count} |
| Are they correct? | ${other_mpgp_correct ¦ checked:"yes"} Yes ${other_mpgp_correct ¦ checked:"no"} No |
| Other MPGP Photos | ${if other_mpgp_photos}${# other_mpgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other MPGP Notes | ${other_mpgp_general_notes ¦ appearance:"multiline"} |
| Other MPGP Issues | ${other_mpgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${other_mpgp_label ¦ checked:"yes"} |
| Undersized | ${other_mpgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${other_mpgp_to_double_lug ¦ checked:"yes"} |
| Needs interconnected with 4/0 to MPGP | ${other_mpgp_interconnect ¦ checked:"yes"} |
| Need to add additional MPGP's | ${other_mpgp_add_count} |
| Wrong equipment bonded to MPGP | ${other_mpgp_wrong_bonds ¦ checked:"yes"} |

SPGP

| Does the facility have SPGP's? | ${other_spgp ¦ checked:"yes"} Yes ${other_spgp ¦ checked:"no"} No |
| --- | --- |
| Other SPGP Count | ${other_spgp_count} |
| Are they correct? | ${other_spgp_correct ¦ checked:"yes"} Yes ${other_spgp_correct ¦ checked:"no"} No |
| Other SPGP Photos | ${if other_spgp_photos}${# other_spgp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other SPGP Notes | ${other_spgp_general_notes ¦ appearance:"multiline"} |
| Other SPGP Issues | ${other_spgp_general_issues ¦ appearance:"multiline"} |
| Needs label changed | ${other_spgp_label ¦ checked:"yes"} |
| Undersized | ${other_spgp_undersized ¦ checked:"yes"} |
| Convert to double lug terminals | ${other_spgp_to_double_lug ¦ checked:"yes"} |
| Is incorrectly interconnected with the MPG System (remove the interconnections) | ${other_spgp_inter_mpg ¦ checked:"yes"} |
| Interconnection with Main/Supp needed with 4/0 | ${other_spgp_interconnect ¦ checked:"yes"} |
| Need to add additional SPGP's | ${other_spgp_add_count} |
| Wrong equipment bonded to SPGP | ${other_spgp_wrong_bonds ¦ checked:"yes"} |

Interior Equipment Bonding

| Does the facility have equipment that needs bonded to the MPG System? | ${other_eqp_bonds ¦ checked:"yes"} Yes ${other_eqp_bonds ¦ checked:"no"} No |
| --- | --- |
| How many? | ${other_eqp_bonds_count} |
| Is the equipment bonded to the MPG System? | ${other_eqp_bond_mpg ¦ checked:"yes"} Yes ${other_eqp_bond_mpg ¦ checked:"no"} No |
| How many? | ${other_eqp_bond_mpg_count} |
| Other Equipment Bonding Photos | ${if other_eqp_photos}${# other_eqp_photos}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/} |
| Other Equipment Bonding Notes | ${other_eqp_general_notes ¦ appearance:"multiline"} |
| Other Equipment Bonding Issues | ${other_eqp_general_issues ¦ appearance:"multiline"} |
| How many pieces need bonding to the MPGP's | ${other_eqp_to_mpgp} |
| How many pieces need bonding to the SPGP's | ${other_eqp_to_spgp} |
| Cable tray needs bonded at the ends | ${other_eqp_cable_tray} |
| Junction boxes | ${other_eqp_jct_box} |
| E/G | ${other_eqp_other} |
| ATS | ${other_eqp_ats} |
| SPD | ${other_eqp_spd} |
| Battery/UPS rack | ${other_eqp_batt_ups} |
| Conduits | ${other_eqp_conduits} |

Surge Protective Devices

Surge Protective Devices Inspection

| Choose Facility Location | Describe the Location | Floor # | Room # | SPD General Photos |
| --- | --- | --- | --- | --- |
| ${# SURGE_PROTECTIVE_DEVICES}${spd_section_selector ¦ checked:"BaseBuilding"} Base Building ${spd_section_selector ¦ checked:"Tower"} Tower ${spd_section_selector ¦ checked:"TRACON"} TRACON ${spd_section_selector ¦ checked:"EngineBuilding"} Engine Building ${spd_section_selector ¦ checked:"UPSBuilding"} UPS Building | ${spd_location_description} | ${floor_number} | ${room_number} | ${if spd_images}${# spd_images}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/}${/} |

| SPD General Notes | SPD General Issues | Is this a service entrance/first point of entry to facility/transfer switch or feeder panel? | What is the voltage? | Is there currently an SPD installed? |
| --- | --- | --- | --- | --- |
| ${# SURGE_PROTECTIVE_DEVICES}${spd_general_notes ¦ appearance:"multiline"} | ${spd_general_issues ¦ appearance:"multiline"} | ${spd_poe ¦ checked:"Service Entrance"} Service Entrance ${spd_poe ¦ checked:"Feeder Panel"} Feeder Panel | ${spd_voltage ¦ checked:"208/120 3 Phase"} 208/120 3 Phase ${spd_voltage ¦ checked:"480/277 3 Phase"} 480/277 3 Phase ${spd_voltage ¦ checked:"240/120 Single Phase"} 240/120 Single Phase ${spd_voltage ¦ checked:"480 Delta 3 Phase"} 480 Delta 3 Phase ${spd_voltage ¦ checked:"380/220 3 Phase"} 380/220 3 Phase | ${spd_installed ¦ checked:"yes"} Yes ${spd_installed ¦ checked:"no"} No ${spd_installed ¦ checked:"n/a"} N/A${/} |

| What is the amperage of the panel? | Panel Label | Is there an existing breaker or disconnect? | If so, what size? | If not, is there room in the panel for another breaker? |
| --- | --- | --- | --- | --- |
| ${# SURGE_PROTECTIVE_DEVICES}${spd_amp} | ${spd_label} | ${spd_break_disc ¦ checked:"yes"} Yes ${spd_break_disc ¦ checked:"no"} No ${spd_break_disc ¦ checked:"n/a"} N/A | ${spd_break_disc_size} | ${spd_break_disc_room ¦ checked:"yes"} Yes ${spd_break_disc_room ¦ checked:"no"} No ${spd_break_disc_room ¦ checked:"n/a"} N/A${/} |

| Describe setup | Recommended SPD Model | SPD Photo |
| --- | --- | --- |
| ${# SURGE_PROTECTIVE_DEVICES}${spd_break_disc_notes ¦ appearance:"multiline"} | ${spd_model} | ${if spd_photo}${# spd_photo}${$file ¦ getValue:"" ¦ size:0:0:600:450}${/}${/}${/} |

Submit Survey

Submitting Your Survey

| Survey Date | ${survey_date ¦ format:"MM/DD/YYYY"} |
| --- | --- |